Geofile 2016-3

Southern Nicola Arc Project 2015: Geochronologic data constraining Nicola Arc history along a transect near 50°N

By:  Richard M. Friedman, Mitchell G. Mihalynuk, Larry D. Diakow and Janet E. Gabites

## Recommended citation:

Friedman, R.M., Mihalynuk, M.G., Diakow, L.J., and Gabites, J.E., 2016. Southern Nicola Arc Project 2015: Geochronologic data constraining Nicola Arc history along a transect near 50°N. British Columbia Ministry of Energy and Mines, British Columbia Geological Survey, Geofile 2016-3. http://www.empr.gov.bc.ca/Mining/Geoscience/PublicationsCatalogue/GeoFiles/Pages/GF2016-3.aspx [Accessed: year, month, day].

# Contents

This document outlines the contents of Geofile 2016-3, which includes 352 files. The contents are:

- this overview document, plus tabular and related data for each of:

- 10 samples analyzed by U-Pb zircon Chemical Abrasion - Thermal Ionization Mass Spectroscopy.

- 5 detrital U-Pb zircon samples analyzed by Laser Ablation - Inductively Coupled Plasma - Mass Spectroscopy, including 330 cathololuminescence images of zircon grains in 5 zip files.

- 1 sample analyzed by 40Ar/39Ar step heating

File names and formats follow:

- Geofile2016-3 SNAP geochron.pdf (this document)

- Geofile2016-3 SNAP geochron01U MMI14-53-13 tims.xlsx
(Excel format workbook containing four worksheets)

- Geofile2016-3 SNAP geochron02U LDi12-1-9 tims.xls
(Excel format workbook containing three worksheets)

- Geofile2016-3 SNAP geochron03U LDi07-7-5 tims.xls

(Excel format workbook containing four worksheets)

- Geofile2016-3 SNAP geochron04U LDi07-7-2 tims.xlsx

(Excel format workbook containing three worksheets)

- Geofile2016-3 SNAP geochron05U LDi07-32-1 tims.xls

(Excel format workbook containing five worksheets)

- Geofile2016-3 SNAP geochron06U MMI14-50-2 tims.xlsx

(Excel format workbook containing five worksheets)

- Geofile2016-3 SNAP geochron07A LDi07-20-3 Ar.xls

(Excel format workbook containing five worksheets)

- Geofile2016-3 SNAP geochron08U MMI14-62-4 tims.xlsx

(Excel format workbook containing four worksheets)

- Geofile2016-3 SNAP geochron09D MMI14-23-15 CL.zip
(Zip file containing 42 cathodoluminescence images of zircon grains)

- Geofile2016-3 SNAP geochron09D MMI14-23-15 dz.xlsx
(Excel format workbook containing eight worksheets)

- Geofile2016-3 SNAP geochron10D LDi14-60-3 CL.zip
(Zip file containing cathodoluminescence images of 77 single zircon grains)

- Geofile2016-3 SNAP geochron10D LDi14-60-3 dz.xlsx
(Excel format workbook containing eight worksheets)

- Geofile2016-3 SNAP geochron11D MMI14-15-13 CL.zip
(Zip file containing cathodoluminescence images of 73 single zircon grains)

- Geofile2016-3 SNAP geochron11D MMI14-15-13 dz.xlsx
(Excel format workbook containing nine worksheets)

- Geofile2016-3 SNAP geochron12U MMI14-19-3 tims.xlsx

(Excel format workbook containing seven worksheets)

- Geofile2016-3 SNAP geochron13U MMI14-59-12 tims.xlsx

(Excel format workbook containing four worksheets)

- Geofile2016-3 SNAP geochron14U MMI14-53-2 tims.xlsx

(Excel format workbook containing four worksheets)

- Geofile2016-3 SNAP geochron15D MMI14-62-1 CL.zip
(Zip file containing cathodoluminescence images of 71 single zircon grains)

- Geofile2016-3 SNAP geochron15D MMI14-62-1 dz.xlsx

(Excel format workbook containing eight worksheets)

- Geofile2016-3 SNAP geochron16D GMC14-60-2 CL.zip
(Zip file containing cathodoluminescence images of 67 single zircon grains)

- Geofile2016-3 SNAP geochron16D GMC14-60-2 dz.xlsx

(Excel format workbook containing eleven worksheets)

# Geofile 2016-3 synopsis

Geofile 2016-3 contains the results, methodology and quality control data from geochronological analyses of samples collected during fieldwork conducted as part of the Southern Nicola Arc Project (SNAP, Mihalynuk and Logan 2013a, b; Mihalynuk et al., 2014a, b, c; Mihalynuk et al., 2015; Mihalynuk et al., 2016), which is a component of the BC Porphyry Deposit Initiative (Hickin et al., 2014). In 2013 and 2014, SNAP focused on systematic quadrangle mapping of ~1000km2 each year centered on Summers Creek, and Shrimpton Creek areas between Princeton and Merritt (Mihalynuk et al., 2014c; 2015, 2016). Most of the data included in this report are discussed in Mihalynuk et al. (2016) and were collected as part of the SNAP mapping program in the Shrimpton Creek area (Mihalynuk et al., 2015, 2016) or the area to the west, extending to the Coquihalla Highway (Diakow and Barrios, 2009). The geological context of the samples dated is provided in Mihalynuk et al. (2016) and some of that material is paraphrased here to provide context for the data in this Geofile. For a province-wide overview of the prolific Late Triassic – Early Jurassic porphyry copper-gold deposit epoch, see Logan and Mihalynuk (2014).

As a consequence of field observations and new isotopic age determinations from the Southern Nicola Arc Project (SNAP) revision of the Nicola arc stratigraphy has been necessary. New U-Pb CA-TIMS dates significantly extend igneous age limits of the Nicola Group. Volcanic crystallization ages now range from ~238 Ma, latest Middle Triassic (Ladinian), to ~202 Ma, latest Triassic (Rhaetian). The youngest age marks the end of Nicola arc development in southern Quesnellia, culminating an interval of activity that started in the late Norian, during which volcanism was sporadic and sedimentation of arc-derived detritus was predominant. Late erosion that exposed early Norian carbonate rocks, combined with a predominance of mafic volcanic rocks may account for an apparent age gap between ~223 Ma and ~210 Ma. A resurgence in arc volcanism in the late Norian (post-208 Ma) is marked by volcanic rocks above an oxidized basal conglomerate. This magmatic resurgance is closely timed and possibly followed by emplacement of intrusions hosting Cu-Au porphyry mineralization, and also by denudation of the Nicola magmatic arc and accumulation of volcanic and plutonic detritus. A period of Early Jurassic plutonism occurred after formation of the Nicola Group and before extrusion of a newly defined ~162 Ma volcanic succession, to our knowledge the first to be documented in south-central British Columbia. Rocks of rhyolitic and andesitic composition of the newly recognized Osprey unit are locally cross-cut by intrusive rocks of the broadly coeval and likely comagmatic Osprey batholith. The youngest rocks sampled in this survey are of Eocene age and are associated with well-documented volcanic/intrusive complexes of the Otter Lake suite.

Table 1.  Synopsis of age determinations within this report, Geofile 2016-3. Related data previously published 
                              are denoted with ‘b’ or ‘c’ map number suffix

Map No.  Sample No. 	Type	Unit / Problem Addressed						age

# Magmatic crystallization ages, Nicola Group

U1	MMI15-53-13	U-Pb	Western belt; rhyolite tuffite near exhalite at Coalmont			238.60 ± 0.30 Ma

U1b 	MMI13-30-4	U-Pb	Missezula Mountain rhyolite 						238.1 ±0.3 Ma

U2	LDi12-1-9	U-Pb	Western belt; dacite tuff at top of Hamilton Creek marker			224.51 ± 0.15 Ma

U3	LDi07-7-5	U-Pb	Western belt; dacite near base of Iron Mountain marker 			223.55 ± 0.29 Ma

U4	LDi07-7-2	U-Pb	Western belt; rhyolite at the top of Iron Mountain marker 			224.11 ± 0.26 Ma

U5	LDi07-32-1	U-Pb	Western belt; welded rhyolite tuff at base of Castillion Creek marker		224.58 ± 0.22 Ma

U6	MMI14-50-2	U-Pb	Central belt; Allison pluton; synkinematic pegmatitic dike cuts border phase	223.32 ± 0.22 Ma

only K-Ar determinations previously

A7	LDi07-20-3	Ar/Ar	Western belt; Coldwater pluton cuts and thereby constrains age 		210.27 ± 0.68 Ma

of upper stratified unit; biotite cooling age

U8	MMI14-62-4	U-Pb	Central belt; Zig dacite lapilli tuff 					202.28 ± 0.26 Ma

# Sedimentary units, detrital zircon maximum depositional ages; Nicola Group

D9	MMI14-23-15	U-Pb	Central belt; sharpstone conglomerate derived from Nicola felsic source	<227 Ma

Confirm source is felsic arc component which so far are ~239 Ma

D10	LDi14-60-3	U-Pb	Central belt; Harmon succession; sandstone immediately below 		<213 Ma

Voght basalt marker – determine age range of Voght clastic strata

D10b 	JLO12-51-47	U-Pb	Voght unit sandstone, near base					208 ±7.6 Ma

D10c	MMI13-16-3	U-Pb	Voght unit sandstone						202.4 ±8.7 Ma

D11	MMI14-15-13	U-Pb	Eastern belt; fine siliciclastic unit presumed mid to upper Triassic		<202 Ma

U11b 	MMI13-16-5	U-Pb	Dike in Voght unit redbeds						201 +0.3/-0.4 Ma

# Magmatic crystallization ages; intrusions cutting or volcanic units atop Nicola Group

U12	MMI14-19-3	U-Pb	Pennask batholith gabbroic pegmatite with minor copper mineralization	193.11 ± 0.16 Ma

U13	MMI14-59-12	U-Pb	Osprey volcanic unit						163.22 ± 0.15 Ma

U13b 	MMI13-4-8		Osprey Lake batholith						162 ±2 Ma

U14	MMI14-53-2	U-Pb	Snowstorm altered “Otter intrusive suite”, cut by base metal sulphide-	53.36 ± 0.07 Ma

quartz stockwork, with open space textures

# Sedimentary units, detrital zircon maximum depositional ages; younger than Nicola Group

D15	MMI14-62-1	U-Pb	Shea conglomerate, extensive erosional deposit above Nicola	<190, possibly ~185 Ma

D16	GMC14-60-2	U-Pb	Bates conglomerate, predominantly chert pebbles lacking		<163, possibly ~134 Ma

a local source

Table 2.  Sample location in UTM Easting and UTM Northing (NAD 83) and Latutude Longitude

Geochron  	Figure	Sample		Type/Mineral	UTM X Zn10	UTM Y Zn10	Longitude	Latitude

Sort	No.		Number

01U	U1	MMI14-55-13	Zr	666981	5486972	-120.69320	49.51240

01bU	U1b	MMI13-30-4	Zr	678209	5506419	-120.52941	49.68392

02U	U2	LDi12-1-9	Zr	667612	5552844	-120.65610	50.10420

03U	U3	LDI07-7-5	Zr	661203	5546425	-120.74830	50.04830

04U	U4	LDI07-7-2	Zr	661491	5546325	-120.74430	50.04730

05U	U5	LDI07-32-1	Zr	652617	5541877	-120.87000	50.00960

06U	U5	MMI14-50-2	Zr	668294	5509168	-120.66560	49.71150

07A	A7	LDI07-20-3	Hb	652364	5535044	-120.87620	49.94830

08U	U8	MMI14-62-4	Zr	674510	5523409	-120.57300	49.83770

09D	D9	MMI14-23-15	DZ	676317	5518100	-120.55030	49.78940

10D	D10	LDi14-60-3	DZ	668486	5541044	-120.64900	49.99790

10bD	D10b	JLO12-51-47	DZ	670200	5543492	-120.62406	50.01940

10cD	D10c	MMI13-16-3	DZ	673548	5535462	-120.58099	49.94627

11D	D11	MMI14-15-13	DZ	697441	5535547	-120.24830	49.93960

12U	U12	MMI14-19-3	Zr	685616	5518787	-120.42090	49.79280

13U	U13	MMI14-59-12	Zr	683218	5504866	-120.46077	49.66846

13bU	U13b	MMI13-4-8	Zr	683740	5505424	-120.45330	49.67330

14U	U14	MMI14-53-2	Zr	692373	5516935	-120.32810	49.77410

15D	D15	MMI14-62-1	DZ	659731	5530571	-120.77540	49.90620

16D	D16	GMc14-60-2	DZ	669545	5537953	-120.63560	49.96980

Fig. 1. Geological setting of field mapping and geochronology samples presented in this report. Extents of Preto’s (1979) Eastern belt (mafic submarine volcanic and sedimentary rocks), Central belt (arc axis, mafic volcanic and coeval intrusive rocks) and Western belt (intermediate to felsic volcanic and sedimentary rocks) are shown for reference, together with their southward extensions after Monger (1989) after and Massey et al. (2005); modified from Mihalynuk and Logan (2013b). Abbreviations for major plutons: A = Allison Lake, B = Bromley, BI = Boulder intrusion, E = Eagle, GC = Guichon Creek, N = Nicola, O = Osprey Lake, P = Pennask, S = Summers Creek, T = Tulameen complex. See Figure 1 for context. Orange box = 2013 mapping (Mihalynuk et al., 2014a, b, c), red box = 2014 mapping (Mihalynuk et al., 2015), yellow outline = 2015 mapping (Mihalynuk et al., 2016) and Diakow and Barrios (2008). Labels beside geochronologic sampling sites correspond to those in Table 1.

# Analytical Techniques

## 39Ar/40Ar step heating

Mineral separates were hand-picked, washed in nitric acid, rinsed in de-ionized water, dried, wrapped in aluminum foil and stacked in an irradiation capsule with similar aged samples and neutron flux monitors (Fish Canyon tuff sanidine, 28.02 Ma; Renne et al., 1998). The samples were irradiated at the McMaster Nuclear Reactor in Hamilton, Ontario, for 90 MWh, with a neutron flux of approximately 3 x 1016 neutrons/cm2/s. Analyses (n = 57) of 19 neutron flux monitor positions produced errors of <0.5% in the J value.

The samples were analyzed at the Noble Gas Laboratory, Pacific Centre for Isotopic and Geochemical Research, The University of British Columbia, Vancouver. The mineral separates were step-heated at incrementally higher powers in the defocused beam of a 10 W CO2 laser (New Wave Research MIR10) until fused. The gas evolved from each step was analyzed by a VG5400 mass spectrometer equipped with an ion-counting electron multiplier. All measurements were corrected for total system blank, mass spectrometer sensitivity, mass discrimination, radioactive decay during and subsequent to irradiation, as well as interfering Ar from atmospheric contamination and the irradiation of Ca, Cl and K (isotope production ratios: [ 40Ar/39Ar] K=0.0302 ±0.00006; [37Ar/39Ar] Ca=1416.4 ±0.5; [ 36Ar/ 39Ar] Ca=0.3952 ±0.0004, Ca/K=1.83 ±0.01 [37Ar Ca/ 39Ar K]). The plateau and correlation ages were calculated using Isoplot v. 3.00 (Ludwig, 2003). Errors are quoted at the 2σ (95% confidence) level and are propagated from all sources except mass spectrometer sensitivity and age of the flux monitor. The best statistically justified plateau and plateau age were picked based on the following criteria:

• three or more contiguous steps comprising more than 30% of the 39Ar;

• the probability of fit of the weighted mean age greater than 5%;

• the slope of the error-weighted line through the plateau ages equals zero at 5% confidence;

• the ages of the two outermost steps on a plateau are not significantly different from the weighted-mean plateau age (at 1.8σ, six or more steps only); and

• the outer most two steps on either side of a plateau must not have non-zero slopes with the same sign (at 1.8σ, nine or more steps only).

## U-Pb zircon chemical abrasion thermal ionization mass spectrometry (CA-TIMS)

CA-TIMS procedures are modified from Mundil et al. (2004), Mattinson (2005) and Scoates and Friedman (2008). Rock samples underwent standard mineral separation procedures, and zircon separates were handpicked in alcohol. The clearest, crack- and inclusion-free grains were selected, photographed, and then annealed at 900˚C for 60 hours. Annealed grains were chemically abraded, spiked with a 233-235U-205Pb tracer solution (EARTHTIME ET535), and then dissolved. Resulting solutions were dried and loaded onto Re filaments (Gerstenberger and Haase, 1997).

Isotopic ratios were measured by a modified single collector VG-54R or 354S thermal ionization mass spectrometer equipped with analogue Daly photomultipliers. Analytical blanks were 0.2 pg for U and up to 1.0 pg for Pb. U fractionation was determined directly on individual runs using the ET535 mixed 233-235U-205Pb isotopic tracer. Pb isotopic ratios were corrected for fractionation of 0.30%/amu, based on replicate analyses of NBS-982 reference material and the values recommended by Thirlwall (2000). Data reduction used the Excel™-based program of Schmitz and Schoene (2007). Standard concordia diagrams were constructed and regression intercepts and weighted averages calculated with Isoplot (Ludwig, 2003). All errors are quoted at the 2σ or 95% confidence level, unless otherwise noted. Isotopic ages were calculated with the decay constants λ238=1.55125E-10 and λ235=9.8485E-10 (Jaffe et al, 1971). EARTHTIME U-Pb synthetic solutions were analysed on an ongoing basis to monitor accuracy.

## U-Pb zircon LA – ICPMS

Sample material selected was preferentially medium to coarse-grained sandstones which are expected to have the best likelihood of containing detrital zircons. Following collection, samples were isolated, double wrapped in plastic bags and placed in buckets. Samples were cleaned by washing followed by air abrading. Zircons were analyzed using laser ablation (LA) ICPMS methods using the techniques described by Tafti et al. (2009). Instrumentation comprised a New Wave UP-213 laser ablation system and a ThermoFinnigan Element2 single collector, double-focusing, magnetic sector ICP-MS. All zircons greater than about 50 microns in diameter were picked from the mineral separates and mounted in an epoxy puck along with several grains of the Plešovice (337.13 ± 0.13 Ma, Sláma et al., 2007), and Temora2 (416.78 ± 0.33 Ma) zircon standards and brought to a very high polish. Before analysis, the surface of the mount was washed for 10 minutes with dilute nitric acid and rinsed in ultraclean water. The highest quality portions of each grain selected for analysis were free of alteration, inclusions, or possible inherited cores. Line scans rather than spot analyses were employed to minimize elemental fractionation during the analyses. A laser power level of 40% and a 25 m spot size was used. Backgrounds were measured with the laser shutter closed for ten seconds, followed by data collection with the laser firing for approximately 35 seconds. The time-integrated signals were analysed using Iolite software (Patton et al, 2011), which automatically subtracts background measurements, propagates all analytical errors, and calculates isotopic ratios and ages. Corrections for mass and elemental fractionation are made by bracketing analyses of unknown grains with replicate analyses of the Plešovice zircon standard. A typical analytical session consisted of four analyses of the Plešovice standard zircon, followed by two analyses of the Temora2 zircon standard, five analyses of unknown zircons, two standard analyses, then five unknown analyses. Each session was completed with two Temora2 zircon standards and four Plešovice standard analyses. The Temora2 zircon standard was analysed as an unknown to monitor the reproducibility of the age determinations on a run-to-run basis.

For plotting and interpretation and of detrital zircon analytical results the ISOPLOT software of Ludwig (2003) is commonly used. Acceptance of the youngest PDP peak generated by Isoplot 4.15 as the DZMDA is typically a conservative approach, but not always (e.g. young single grain outlier in GMC14-60-2 identified by Isoplot as a sub-population). A more common issue may be the inclusion of multiple populations within a single PDP peak. Bandwidth is an important consideration in resolving PDPs, and proper bandwidth selection is important in identification of sub-populations. Routines such as Unmix in Isoplot 4.15 can be applied to help identify sub-populations, but this routine was not used herein. To evaluate probability density distribution plots, we examined each sample dataset and considered criteria like smallest error envelopes and % discordance of individual zircon analyses in an attempt to reveal the youngest real zircon population(s). We applied a filter to some samples such that the youngest sub-population grains selected have 2σ errors less than 5% of the zircon age determination, and with 207Pb/235U and 206Pb/238U age determinations that differ by less than 1σ. We also considered zircon spot chemistry, placing more confidence in young sub-populations with homogeneous Pb, Th and U isotope contents as a percentage of the analytical counts per second compared to the range of values for that sample.

# Geochronological samples:

## (see Table 1 and Figure 1 for locations)

### Sample U1, MMI14-55-13, Central belt rhyolite tuffite near Coalmont;

### UTM coordinates: 666981 m E 5486972 m N (NAD 83, UTM zone 10).

### 238.60 ± 0.30 Ma

Between Princeton and Tulameen (Fig. 1), rhyolite flows and tuffs form a belt > 10 km long and < 2 km wide. Rhyolite flows are rarely quartz-phyric, but typically pyritic and altered with secondary white mica and clays in white, rust and yellow weathered exposures.  Immediately east of Coalmont (adjacent the old town dump) the felsic unit appears to be slightly reworked into pebbly sandstone (tuffite) and interlayered with locally pillowed basalt flow and breccia. In one outcrop, the felsic unit has laminae of Fe>Cu sulphides, interpreted as exhalite (Mihalynuk et al., 2014a). Geochronological analysis of the felsic volcaniclastic unit would provide an age of the felsic belt and possible volcanogenic sulphide mineralization. In addition, an age would test a suspected correlation with very similar rhyolitic rocks at Missezula Mountain (Mihalynuk et al., 2015) and farther north, near the Ketcham porphyry prospect (see below; Sample MMI14-23-12) about 30 km to the northeast, across the Nicola arc.

Sample MMI14-55-13 was collected from the base of a cliff on the eastern outskirts of Coalmont. Although zircons were sparse and fine grained (<50 microns in diameter), they provided a precise U-Pb age of 238.60 ± 0.30Ma (Geofile2016-3 SNAP geochron01U MMI14-53-13 tims.xlsx). This age is nearly identical (within the limits of error) to the 238.15 ± 0.33 Ma age of pyritic felsic lapilli tuff on the east flank of Missezula Mountain (see Sample MMI13-30-4; U1b in Table 1; Mihalynuk et al., 2015) providing compelling support for the lithological correlation. Together, these determinations provide the oldest crystallization ages known from the Nicola Group.

### Sample U2, LDi12-1-9, Western belt, dacite tuff at top of marker unit at Hamilton Creek;

### UTM coordinates: 667612 m E 5552844 m N (NAD 83, UTM zone 10).

### 224.51 ± 0.15 Ma

Sample LDi12-1-9 is from a dacitic lapilli tuff marking the highest exposure in the Hamilton Creek section. This dacite contains light colored felsic-lithic fragments and scarce quartz grains. Five overlapping analyses give a weighted 206Pb/238U age of 224.51 ± 0.15 Ma (Geofile2016-3 SNAP geochron02U LDi12-1-9 tims.xls). Limestone samples collected stratigraphically below the dated tuff, contain a diverse fauna, including the bivalve Halobia sp., and conodont species with an age range of latest Carnian to early Norian (see collection F4, Table 1 in Preto, 1979).

### Sample U3, LDi07-7-5, Western belt, dacite near base of marker unit at Iron Mountain;

### UTM coordinates: 661203 m E 5546425 m N (NAD 83, UTM zone 10).

### 223.55 ± 0.29 Ma

Sample LDi07-7-5 was collected from an accretionary lapilli tuff bed 8 m above the base of the marker interval at Iron Mountain (Fig. 1). The weighted 206Pb/238U age, determined from four overlapping zircon fractions on concordia is 223.55 ± 0.29 Ma (Geofile2016-3 SNAP geochron03U LDi07-7-5 tims.xls).

### Sample U4, LDi07-7-2, Western belt, rhyolite at top of marker unit at Iron Mountain;

### UTM coordinates: 661491 m E 5546325 m N (NAD 83, UTM zone 10).

### 224.11 ± 0.26 Ma

Sample LDi07-7-2 is from a lenticular rhyolite unit (80 m wide by 220 m long) believed to depositionally overlie the mainly sedimentary upper part of the marker unit at Iron Mountain (Fig. 1). A 25 m wide vegetated area separates underlying feldspathic sandstones from aphanitic light grey-green rhyolite. The rhyolite gives a weighted 206Pb/238U age of 224.11 ± 0.26 Ma interpreted from two overlapping analyses of a younger group (Geofile2016-3 SNAP geochron04U LDi07-7-2 tims.xlsx). This age is older than the age determined from the dacite near the base of the marker interval at Iron Mountain which, together with the slightly older population (Geofile2016-3 SNAP geochron03U LDi07-7-5 tims.xls), may indicate that the zircons are xenocrysts or antecrysts derived from one or more of four underlying layers precisely dated by U/Pb TIMS and averaging 223.5 Ma (Sample LDi07-7-5 (U3) and R. Friedman, unpublished) Alternatively, the older grains could be antecrysts from an older, partly crystallized magma reservoir from which the rhyolite later erupted.

### Sample U5, Sample LDi07-32-1, Western belt, welded rhyolite tuff near base of marker;

### UTM coordinates: 652617 m E 5541877 m N (NAD 83, UTM zone 10).

### 224.58 ± 0.22 Ma

At the base of the marker interval at Castillion Creek, are two rhyolite welded tuff beds that are separated by a limestone layer; Sample LDi07-32-1 is from the upper of the two tuffs (Fig 1). The weighted 206Pb/238U age based on four overlapping U-Pb TIMS zircon analyses is 224.58 ± 0.22 Ma (Geofile2016-3 SNAP geochron05U LDi07-32-1 tims.xls).

### Sample U6, MMI14-50-2, Central belt, Allison pluton;

### UTM coordinates: 668294 m E 5509168 m N (NAD 83, UTM zone 10).

### 223.32 ± 0.22 Ma

Sample MMI14-50-2 was collected from the interior of a northeast-oriented dioritic zone (2.5 km wide) of Allison pluton (Fig. 1) near the contact with a screen of mafic country rock (minimum dimension of ~100 m wide), possibly a part of the pluton floor. A weak to moderate fabric in the country rock is strongly overprinted by granoblastic mafic minerals (predominantly hornblende ±pyroxene, magnetite, garnet and sparse clots of very coarse biotite), and these grade into zones of varitextured diorite. Leucogranitic dikes cut the diorite. Planar dikes (decimeters wide) coalesce in the area sampled, and display medium-grained to pegmatitic textures with oriented tabular quartz-feldspar crystal growth on their margins and ribboned quartz in their interiors. Quartz ribbons have sutured grain boundaries with strained subgrains along them. These textures are evidence of solid state ductile deformation (Duke et al., 1988; Paterson et al., 1989) and a change from magmatic fabrics to tectonic fabric development.

Although the regional importance of this synkinematic fabric has yet to be established, dating a cross-cutting leucocratic phase of the Allison pluton provided an opportunity to corroborate existing hornblende and muscovite K-Ar cooling ages of 204 ± 10 to 207 ± 10 Ma (Preto, 1979; recalculated by Breitsprecher and Mortensen, 2004), while dating the deformational fabric. Chlorite alteration is ubiquitous at the sample site and elsewhere in the pluton, together with lesser epidote, rendering analysis of K-bearing phases unreliable.

A weighted 206Pb/238U age of 223.32 ± 0.22 Ma, based on concordant and equivalent results for three single zircon analyses likely records crystallization of the rock (Geofile2016-3 SNAP geochron06U MMI14-50-2 tims.xlsx). It is older than the oldest limit of error for previously reported K-Ar cooling ages, but consistent with a population of detrital zircons from basal conglomerate of the Spences Bridge Group unconformably overlying the pluton’s eastern margin (see Mihalynuk et al., 2014a). This age is very similar to ages (e.g. 222.71 +/-0.22Ma) from Burgess Creek tonalite to diorite stock at the northeast margin of the Granite Mountain batholith (adjacent the Gibraltar Cu-Mo porphyry deposit), which also displays synplutonic deformation fabrics cut by younger undeformed intrusive phases (Schiarizza, 2014, 2015, pers. comm. 2016).

### Sample A7, LDi07-20-3, Western belt, Coldwater pluton;

### UTM coordinates: 652364 m E 5535044 m N (NAD 83, UTM zone 10).

### 210.27 ± 0.68 Ma

Sample LDi07-20-3, from near the centre of the Coldwater pluton (Fig. 1), is a medium-grained equigranular quartz diorite containing 20% vitreous biotite. A biotite separate yields a plateau, formed by 80.7% of 39Ar gas in 10 steps from which an age of 210.27 ± 0.68 Ma is calculated (Geofile2016-3 SNAP geochron07A LDi07-20-3 Ar.xls). Because the pluton lacks evidence of secondary alteration, or structural disruption leading to thermal resetting, we infer that the cooling age approximates a crystallization age for the pluton.

Coldwater pluton cuts the upper stratified unit of the Western belt at Selish Mountain, bracketing deposition to between ~ 224 Ma (age from the base of the marker interval at Castillion Creek) and ~ 210 Ma.

### Sample U8, Sample MMI14-62-4, Central belt, Zig volcanic unit, dacite;

### UTM coordinates: 674510 m E 5523409 m N (NAD 83, UTM zone 10).

### 202.28 ± 0.26 Ma

In the northern part of the Central belt are pyroclastic deposits of high- silica andesite to dacite composition, readily distinguished by phenocrysts including biotite, quartz and apatite. It is referred to as the Zig unit (Mihalynuk et al., 2015), after the Zig mineral prospect (specifically NOR30), where several old pits excavated calcite-quartz-chalcocite veins up to 20 cm thick. Re-Os isotopic analysis of semi-massive chalcocite in these veins has returned an age of 215 ± 2 Ma (R.A. Creaser, unpublished data).

Sample MMI14-62-4 was collected about 5 km to the south along strike of the NOR30 prospect (Fig. 1), in a bluff section of medium-grained plagioclase-bearing tuff containing ~1% red apatite grains (≤3mm in diameter), commonly euhedral with grey rims, and ~0.5% euhedral biotite booklets (≤ 4 mm in diameter). Where sampled, the unit displays characteristic weak and patchy chlorite and epidote alteration, but unlike the unit near NOR30, quartz phenocrysts are conspicuously lacking. Lithic fragments are rounded, perhaps indicating reworking, but no good bedding or sedimentary sorting could be detected.

Based on a weighted mean 206Pb/238U date for 5 concordant and overlapping single zircon grains, the Zig andesite is 202.28 ± 0.26 Ma (Geofile2016-3 SNAP geochron08U MMI14-62-4 tims.xlsx), considerably younger than the 215 Ma Re-Os chalcocite age. Three explanations should be considered: (1) the unit spans an age of nearly 13 m.y., (2) one of the ages is in error, or (3) Zig unit has been reworked and mixed with a younger tuffaceous component which included the most attractive zircons for analysis. While we consider the third option as the most likely, U-Pb analysis of the Zig unit at NOR30, and an analysis of a broader selection of zircon morphologies from sample MMI14-62-4 will be required to resolve this problem.

### Sample D9, MMI14-23-15 (D9), Nicola Group, Central belt, Ketcham rhyolite sharpstone conglomerate;

### UTM coordinates: 676317 m E 5518100 m N (NAD 83, UTM zone 10).

### (<239 Ma, possibly <227 Ma)

Between Missezula Lake and Missezula Mountain (Fig. 1), well-bedded sandstone, conglomerate containing angular clasts of aphanitic to feldspar- and quartz-phyric rhyolite, and lesser argillite, up to tens of metres thick, are interlayered with reworked ash and lesser lapilli tuff. Because felsic rocks are atypical of the Central belt, Mihalynuk et al. (2014a) speculated on possible correlatives including the Skwel Pecken Formation (Early to Middle Jurassic) as defined near Hedley (Ray and Dawson, 1994) or a lithologically similar Nicola unit at Coalmont.

A sample was collected from the north of the Ketchan copper porphyry prospect, selecting from  the coarsest, quartz-rich sandstone matrix (note that the Ketchan prospect is near Ketcham Creek and Ketcham Lake, we used these geographic places to name for the important conglomeratic unit). Zircons recovered were very fine-grained, but 56 grains were sufficiently large that a 15 spot size could be analyzed. Zircons dated have a distribution peak at 239 Ma, with a sparse older population at ~255 Ma and a younger shoulder to the age distribution at ~227 Ma (Geofile2016-3 SNAP geochron09D MMI14-23-15 dz.xlsx). One orphan grain gave a 206Pb/238U age of 217 Ma ± 8.5 Ma, but a significantly different 207Pb/235U age of 256 ± 20 Ma. Given this analytical variability, the fine grain size (see Discussion), and proximity of the cross-cutting Ketchan diorite body, there is a real possibly of post-depositional lead-loss causing an erroneously young age. We consider ~227 Ma the likely maximum age of the sandstone matrix, and that it was mainly sourced from felsic bodies formed at ~239 Ma, such as the 238.15 +/-0.33 Ma rhyolite tuff from nearby Missezula Mountain (sample MMI13-30-4, Mihalynuk et al., 2015; Fig. 2) and coeval rhyolite tuffite at Coalmont (238.6 ± 0.3 Ma, sample MMI14-53-13, see above).

### Sample D10, LDI14-60-3, Nicola Group Central belt, Voght sandstone, Harmon succession

### UTM coordinates: 668486 m E 5541044 m N (NAD 83, UTM zone 10).

### <220 Ma, probably <213 Ma

Sample LDI14-60-3 is an oxidized reddish brown sandstone with granulestone layers that encloses, and is interbedded with, the Voght unit flows (Mihalynuk et al., 2015) positioned between an underlying basal polymictic conglomerate unit (Harmon conglomerate), and an overlying sequence of distinctive bladed basalt flows (Fig. 1). Assuming consistent bed orientation, about 150m of covered section separates the sample site from the lowest coarse bladed feldspar porphyry flow which, together with interbedded maroon sandstone, characterize the Voght unit.

We previously correlated the Voght sandstone with other exposures of maroon sandstone and matrix-supported polymictic conglomerate ~3km along strike to the northeast near Corbett Lake (sample 12JLO51-4), and ~8km across strike to the east (sample MMI13-16-5; Mihalynuk et al., 2015). These were correlated with the upper and lower parts of the Voght unit. Only twenty zircons were recovered and analyzed from each sample but they fell into strong populations with maximum depositional ages of 208 ± 4 Ma and 202 ± 4 Ma. Consistency of the younger age with a cross-cutting dike dated at 201 +0.3/-0.4 Ma (Mihalynuk et al., 2015) supports the interpreted age of the top of the section of ~202 Ma. Our expectation was that dating zircons from the base of the Voght flows would help constrain the flow age and confirm correlation with strata to the north.

Sixty-five grains were analyzed. Disregarding the youngest orphan grain at 206 Ma (Geofile2016-3 SNAP geochron10D LDi14-60-3 dz.xlsx) five grains with 2σ errors less than 5% of the zircon age determination, and with 207Pb/235U and 206Pb/238U age determinations that differ by less than 1σ (averaged), form a sub-population between 210 and 215 Ma (average ~213 Ma). We interpret this as the maximum depositional age of the sample, consistent with the ~208 Ma age for the base of the Voght determined previously (Mihalynuk et al., 2015). All other zircons analyzed have ages consistent with local derivation from the Nicola arc, including the sub-population of the 3 oldest grains at ~236 Ma.

### Sample D11, MMI14-15-13, Nicola Group Eastern belt, fine siliciclastic unit,

### UTM coordinates: 697441 m E 5535547 m N (NAD 83, UTM zone 10).

### ≤214 Ma, possibly <208 or even <202 Ma

Sample MMI14-15-13 was collected along the far eastern boundary of the northern part of the study area from the Eastern belt sedimentary rocks (Fig. 1). Here the succession is mainly well-bedded turbiditic siltstone and argillite with lesser coarse wacke (see Mihalynuk et al., 2015). An arenaceous carbonate-cemented, arkose bed with a minimum thickness of ~15cm was sampled.

Sixty-two zircons analyzed yield a probability distribution peak at ~214 Ma (Geofile2016-3 SNAP geochron11D MMI14-15-13 dz.xlsx); however, if we use the same multigrain population reliability criteria as for Sample GMC14-50-2 (2σ less than 5% of the zircon age determination, and with 207Pb/235U and 206Pb/238U age determinations that differ by less than 1σ), then a 208 Ma subpopulation can be identified, but so too can a two-grain population with an average age of 202 Ma and very similar Pb, Th and U isotopic compositions. This 202 Ma 206Pb/238U determination pair may provide the youngest reliable maximum depositional age. Either way, the strata are clearly too young to underlie the Nicola arc and must instead represent deposition coeval with arc growth. All zircons analyzed have ages that are consistent with derivation from the Nicola arc, with the oldest grains around 230 Ma. No grains from an old continental source were detected.

### Sample U12, Sample MMI14-19-3, western Pennask batholith, gabbro border phase;

### UTM coordinates: 685616 m E 5518787 m N (NAD 83, UTM zone 10).

### 193.11 ± 0.6 Ma

Interior portions of the Pennask batholith tend to be homogeneous and isotropic, white-weathering, medium- to coarse-grained hornblende-biotite granodiorite to tonalite (see descriptions in Mihalynuk et al., 2015). However, near its southwest margin, the batholith is highly variable in composition, ranging from granodiorite to varitextured, locally pegmatitic, hornblende gabbro (Fig. 1).

The gabbro contains 30-70% hornblende, with intragranular plagioclase comprising most of the remainder of the rock. In places, plagioclase is intergrown with pink perthitic K-feldspar; both have been moderately to strongly epidote altered. Fine- to medium-grained magnetite comprises ~10%, and also comprises ~80% of centimeter-thick bands. Fine-grained biotite occurs as scattered booklets and glomerocrysts (<~2%). Trace titanite is fine to medium grained. Irregular voids up to 5cm across may be miarolitic cavities or possibly dissolved mineral matter. Locally, the gabbro contains up to a few percent pyrite and traces chalcopyrite. Because some biotite and K-feldspar textures could have been produced by potassic alteration, and sulphides are locally conspicuous, we sampled the gabbro to test if isolated outcrops interpreted as Pennask border phase might be part of the Copper Mountain suite (Late Triassic), which has considerably higher mineral potential.

Mineralized gabbro sample MMI14-19-3 yielded both abundant zircon and titanite. Three zircon grains analyzed overlap concordia at 193.11 ± 0.16 Ma. Titanite from the same sample are slightly younger with a weighted 206Pb/238U date for 4 overlapping and concordant fractions yielding 192.9 ± 0.4 Ma (Geofile2016-3 SNAP geochron12U MMI14-19-3 tims.xlsx). This age couple is consistent with rapid cooling following crystallization.

These new Early Jurassic ages confirm assignment of the border rocks to the Pennask batholith (Mihalynuk et al., 2015) and are the same as previously determined crystallization ages farther northeast (194 ± 1 Ma; Parrish and Monger, 1992).

### Sample U13, MMI14-59-12, post-Nicola rhyolite 'Osprey volcanic unit';

### UTM coordinates: 683218 m E 5504866 m N (NAD 83, UTM zone 10).

### 163.22 ± 0.15 Ma

North of Princeton, grey porphyritic granodiorite intrudes andesite breccia and flow banded rhyolite that strongly resembles the Pimanus Formation of the Spences Bridge Group (Early Cretaceous). Mihalynuk and Logan (2014a) included this porphyritic granodiorite with the Summers Creek suite of intrusions, thought to be ~99 Ma (K-Ar cooling ages of Preto, 1979; recalculated in Breitsprecher and Mortensen, 2004). However, zircons extracted from the intrusion overlap concordia between 160 Ma and 164 Ma (see Osprey Lake batholith: Sample MMI 13-4-8, Mihalynuk et al., 2015) indicating that the volcanic package is Late Jurassic or older. To test for an inherited component we analyzed the central and perimeter zones of ten zircons by laser ablation (LA-ICPMS). These analyses confirmed the TIMS results, with a weighted age for 9 of the 10 zircons at 162 ± 2 Ma. The youngest concordant grain gave a 206Pb/238U age of 160.67 +/- 0.21 Ma, which we take as a maximum crystallization age for the intrusion, given that the grains were chemically abraded.

Sample MMI14-59-12 was collected from the rhyolite unit as far from the intrusive contact as possible without losing outcrop continuity (Fig. 1). Five zircon grains gave results that overlap concordia to give a weighted 206Pb/238U age of 163.22 +/- 0.15 Ma (Geofile2016-3 SNAP geochron13U MMI14-59-12 tims.xlsx ). Not only is this age consistent with the geological requirement that it be older than the crosscutting 162 ± 2 Ma (or 160.7 ±0.2 Ma based on the youngest concordant grain) granodiorite, but it strongly hints of an intrusion that cuts its comagmatic volcanic carapace. This is the first example of demonstrable Late Jurassic volcanic rocks presumably overlying older Nicola arc strata in the transect area.

We include the granodiorite in Osprey Lake batholith, presumably a younger phase than its most widespread and distinctive K-feldspar megacrystic granite phase dated at 166 ±1 Ma (U-Pb zircon; Parrish and Monger, 1992). We introduce the informal name 'Osprey volcanic unit' for the comagmatic andesite and rhyolite rocks cross cut by the batholith which, despite a lithologic similarity, are unrelated to the Pimanus Formation.

### Sample U14, Sample MMI14-53-2, Snowstorm quartz-feldspar porphyry;

### UTM coordinates: 692373 m E 5516935 m N (NAD 83, UTM zone 10).

### 53.36 ± 0.07 Ma

Base metal sulphide vein mineralization at the Snowstorm prospect is developed in yellow and rust-weathering, coarse quartz-eye feldspar porphyry of the 'Otter intrusions'. Disseminated fine cubes of pyrite (~ 1-2%) are widespread and clay-alteration is pervasive. Where least altered, phenocrysts of orthoclase (up to 1 cm across and 15-20%) and hornblende (medium to coarse-grained, up to 15%) are visible but largely replaced by clay minerals and chlorite-?pyrophyllite. Coarse quartz phenocrysts (~ 25%) are little affected by alteration.

Limited production of gold, silver and lead from tracked adits at the Snowstorm property date from 1917 to 1927 (Groves, 1989). At least two adits were drifted along mineralized zones (Fig. 1). Analysis of mineralized quartz stockwork veining revealed >1% zinc and, in one grab sample, 22.7 ppm indium (Mihalynuk et al., 2015). Although the mineralization has been classified as shear-related veining (MINFILE 092HNE032), open space quartz stockworks and shallow intrusive host rocks are more consistent with intrusion-related vein mineralization. If related to the quartz-eye feldspar porphyry host intrusion, a crystallization age would provide an approximate age for mineralization (or maximum age for shear-related veining). Sample MMI14-53-2, collected at creek level and upstream of the two major adits, returned a U-Pb zircon crystallization age of 53.36 ± 0.07 Ma from three grains that overlap concordia (Geofile2016-3 SNAP geochron14U MMI14-53-2 tims.xlsx). The age is consistent with K-Ar cooling ages from other quartz-feldspar porphyry dikes and stocks that cluster ~53 Ma, including some associated with gold mineralization at the Siwash mine (Armstrong and Petö, 1981 and Hunt and Roddick, 1990; recalculated in Breitsprecher and Mortensen, 2004).

### Sample D15, MMI14-62-1, post-Nicola Group conglomerate near Shea Lake,

### UTM coordinates: 659731 m E 5530571 m N (NAD 83, UTM zone 10).

### ≤190 Ma, probably <185 Ma

Sample MMI14-62-1 was collected from a sandstone layer in a section of oxidized reddish brown conglomerate outcrop about 3 km west of Shea Lake (Fig. 1). Analyses of 62 grains (Geofile2016-3 SNAP geochron15D MMI14-62-1 dz.xlsx) indicate a peak at in the probability density distribution of ~190 Ma (maximum depositional age) and ~215 Ma (age of most common source). A subpopulation of four grains with tightest errors of run at ~185 Ma may provide a younger maximum depositional age. A conspicuous lack of zircons between ~201 and ~197 Ma is consistent with the lack of known magmatism in the region during this period.

In the northwest part of the study area, a polymictic, maroon conglomerate unconformably overlies Late Triassic limestone (Hendriks unit) and is overlain by interbedded maroon epiclastic sandstone and bladed feldspar porphyry flows of the Voght unit (> 202 Ma; see above). Mihalynuk et al. (2015) referred to this conglomerate as the 'Shea conglomerate' and included it in the upper part of the Nicola Group. However, at the western edge of the study area similar conglomerates appear to sit above the Nicola Group (unit Kc in Diakow and Barrios, 2008; unit Ks in Monger, 1989) and, as indicated by the detrital zircon ages above, the conglomerates near Shea Lake are younger than ~ 190 Ma. We now restrict use of the name 'Shea conglomerate' to the older Nicola Group conglomerate (which contains rhyolite and limestone as major clast types) and reserve the name for the conglomerate near Shea Lake, which contains a higher proportion and greater diversity of plutonic clasts, and includes siliceous clasts resembling chert (Diakow and Barrios, 2009).

### Sample D16, GMC14-60-2, post-Nicola Group Bates chert pebble conglomerate;

### UTM coordinates: 669545 m E 5537953 m N (NAD 83, UTM zone 10).

### <158 163 Ma possibly <134 Ma

The Bates unit, comprising tabular beds of granule to boulder conglomerate, with abundant well-rounded black chert clasts, is at least 420 m thick, and forms a belt west of Aspen Grove that extends for about 17 km (Fig. 1; Mihalynuk et al., 2015). Clasts of litholgies other than black chert are significant only in northern exposures (Mihalynuk et al., 2015). Sample GMC14-60-2 was collected from a chert granule to pebble-rich bed of the Bates conglomerate, uncharacteristically fine-grained for the cobble and boulder-rich conglomerate. Geological constraints on the age of the conglomerate are based on its unconformable relationship with youngest dated Nicola strata (<201 Ma Tillery unit) near the northern margin of Allison pluton. Farther south, the Spences Bridge Group (104 Ma; Early Cretaceous) is deposited on the Allison pluton without any intervening Bates conglomerate. If Bates conglomerate was deposited and then eroded prior to the  sub-104 Ma unconformity,  the geologically-constrained conglomerate age would be between  ~201, and 104 Ma.

A total of 65 grains were analyzed (Geofile2016-3 SNAP geochron16D GMC14-60-2 dz.xls), resulting in a multi-peaked spectrum with a main population at 163 Ma, and multi-grain subpopulations at 153, 188, 210, 240 and, perhaps, at 305 Ma. Two old grains were analyzed: 1400 and 2750 Ma (Fig. 29b). Both 207Pb/235U and the more reliable 206Pb/238U determinations on the youngest grain suggest ages 134 ± 15 Ma and 134 ± 7.3 Ma (2σ errors, Fig. 29b) Accepting the age of this single zircon would support assigning the Bates unit to unit Ks of Monger (1989; Early Cretaceous); if the age is spurious then main 163 Ma population peak would confirm assigning the unit to unit 9 of Preto (1979; Late Jurassic).

The main 163 Ma detrital zircon population peak coincides with the age of the Osprey batholith and the newly defined Osprey volcanic unit (sample MMI14-59-12, 163.2 ± 0.2 Ma; see above), the closest occurrences of which are now 19 km away. Given the paucity of clasts other than black chert, the 163 Ma zircons may represent air fall material derived from Osprey-related volcanism. The Triassic zircon populations are readily explained by derivation from Nicola arc lithologies (see discussion of other TIMS ages above and Mihalynuk et al., 2015). However, no source of chert is known in the region between the Osprey batholith and the Bates conglomerate, and the sparse latest Carboniferous and single Mesoproterozoic and Archean grains require distant external sources.

## References

Armstrong, R.L. and Petö, P., 1981. Eocene quartz-feldspar porphyry intrusions west of Okanagan Lake, southern B.C.: K-Ar dates and Sr isotopic composition. Northwest Geology, 10, 13–19.

Breitsprecher, K., and Mortensen, J.K., 2004. BCAge 2004A-1-a database of isotopic age determinations for rock units from British Columbia. British Columbia Ministry of Energy and Mines, British Columbia Geological Survey, Open File, v. 3.

Diakow, L.J. and Barrios, A. 2009. Geology and Mineral Occurrences of the Mid-Cretaceous Spences Bridge Group near Merritt, Southern British Columbia (Parts of NTS 092H/14, 15; 092I/2, 3). In: Geological Fieldwork 2008, BC Ministry of Energy Mines and Petroleum Resources, British Columbia Geological Survey, Paper 2009-1, 63-79.

Duke, E.F., Redden, J.A. and Papike, J.J., 1988. Calamity Peak layered granite-pegmatite complex, Black Hills, South Dakota: part 1. Structure and emplacement. Geological Society America Bulletin, 100, 825–840.

Evenchick, C.A., Poulton, T.P. and McNicoll, V.J., 2010. Nature and significance of the diachronous contact between the Hazelton and Bowser Lake groups (Jurassic), north-central British Columbia. Bulletin of Canadian Petroleum Geology, 58, 235-267.

Groves, E.W., 1989. Geological report and work proposal on the Siwash Creek Property. In: British Columbia Ministry of Energy, Mines and Petroleum Resources, Assessment Report 19472.

Hickin, A.S., Rowins, S.M, Jones, L.D., and Madu, B., 2014. British Columbia Geological Survey annual program review 2013. In: Geological Fieldwork 2013, British Columbia Ministry of Energy and Mines, British Columbia Geological Survey Paper 2014-1, 1-14.

Hunt, P.A. and Roddick, J.C., 1990. A compilation of K-Ar ages: Report 19. In: Radiogenic Age and Isotopic Studies, Report 3. Geological Survey of Canada Paper 89-02, 153-190.

Logan, J.M., and Mihalynuk, M.G., 2014. Tectonic controls on Early Mesozoic paired alkaline porphyry deposit belts (Cu-Au ± Ag-Pt-Pd-Mo) within the Canadian Cordillera. Economic Geology, Special Issue on Alkalic Porphyry Deposits, v. 109, p. 827-858.

Mihalynuk, M.G., Logan, J., Friedman, R.M., and Preto, V.A., 2010. Age of mineralization and ‘mine dykes’ at Copper Mountain alkaline copper-gold-silver porphyry deposit (NTS 092H/07), south-central British Columbia. In: Geological Fieldwork 2009, British Columbia Ministry of Energy, Mines and Petroleum Resources, British Columbia Geological Survey Paper 2010-1, 163-172.

Mihalynuk, M.G., and Logan, J.M., 2013a. Geological setting of Late Triassic porphyry Cu-Au mineralization at Miner Mountain, Princeton, southern British Columbia. In: Geological Fieldwork 2012, British Columbia Ministry of Energy, Mines, and Natural Gas, British Columbia Geological Survey Paper 2013-1, 81-96.

Mihalynuk, M.G., and Logan, J.M., 2013b. Geological setting of Late Triassic porphyry Cu-Au mineralization at the Dillard Creek property near Merritt, southern British Columbia. In: Geological Fieldwork 2012, BC Ministry of Energy, Mines and Natural Gas, British Columbia Geological Survey, Paper 2013-1, 97-114.

Mihalynuk, M.G., Logan, J.M., Diakow, L.J., Friedman, R.M., and Gabites, J., 2014a. Southern Nicola Arc Project (SNAP): preliminary results. In: Geological Fieldwork 2013, British Columbia Ministry of Energy and Mines, British Columbia Geological Survey, Paper 2014-1, 29-57.

Mihalynuk, M.G., Friedman, R.M., Gabites, J.E., Logan, J.M., 2014b. Southern Nicola Arc Project 2013: Geochronological data. British Columbia Ministry of Energy and Mines, British Columbia Geological Survey, GeoFile 2014-3.

Mihalynuk, M.G., Logan, J.M., Diakow, L.J., Henderson, M.A., Jacob, J., and Watson, A.K.G., 2014c. Summers Creek area preliminary geology, NTS 92H/9W & 10E. British Columbia Ministry of Energy and Mines, British Columbia Geological Survey, Open File 2014-5, 1:50 000 scale.

Mihalynuk, M.G., Diakow, L.J., Logan, J.M, and Friedman, R.M., 2015. Preliminary geology of the Shrimpton Creek area (NTS 092H/15E, 16W) Southern Nicola Arc Project. In: Geological Fieldwork 2014, British Columbia Ministry of Energy and Mines, British Columbia Geological Survey Paper 2015-1, 129-163.

Mihalynuk, M.G., Diakow, L.J., Friedman, R.M., and Logan, J.M., 2016. Chronology of southern Nicola arc stratigraphy and deformation. In: Geological Fieldwork 2015, British Columbia Ministry of Energy and Mines, British Columbia Geological Survey Paper 2016-1, 31-63.

Monger, J.W.H., 1989. Geology, Hope, British Columbia. Geological Survey of Canada, Map 41-1989, sheet 1, scale 1:250 000.

Parrish, R.R., and Monger, J.W.H., 1992. New U-Pb dates from southwestern British Columbia: Radiogenic age and isotopic studies. Report 5, 87–108.

Paterson, S.R., Vernon, R.H. and Tobisch, O.T., 1989. A review of criteria for the identification of magmatic and tectonic foliations in granitoids. Journal of Structural Geology, 11, 349–363.

Preto, V.A., 1979. Geology of the Nicola Group between Merritt and Princeton: BC Ministry of Energy, Mines and Petroleum Resources, British Columbia Geological Survey, Bulletin 69, 90 p.

Ray, G.E. and Dawson, G.L., 1994. The geology and mineral deposits of the Hedley gold skarn district, southern British Columbia. British Columbia Ministry of Energy, Mines and Petroleum Resources, Bulletin 87, 156p.

Schiarizza, P., 2014. Geological setting of the Granite Mountain batholith, host to the Gibraltar porphyry Cu-Mo deposit, south-central British Columbia. In: Geological Fieldwork 2013, British Columbia Ministry of Energy and Mines, British Columbia Geological Survey Paper 2014-1, 95-110.

Schiarizza, P., 2015. Geological setting of the Granite Mountain batholith, south-central British Columbia. In: Geological Fieldwork 2014, British Columbia Ministry of Energy and Mines, British Columbia Geological Survey Paper 2015-1, 19-39.