Nelson, J.L. and Friedman, R. 2017. U-Pb and geochemical data from late Paleozoic and Jurassic rocks of western Stikinia and the Coast Mountains. British Columbia Ministry of Energy and Mines, British Columbia Geological Survey GeoFile 2017-1.

This data release accompanies and supports the isochrons and geochemical plots in Nelson (2017). It includes 3 TIMS zircon analyses and major and trace element analyses of 28 igneous rocks.

Geochronological procedures

CA-TIMS analyses were performed at the Pacific Centre for Isotopic and Geochemical Research at the University of British Columbia between 2005 and 2010. Analytical procedures were modified from procedures outlined in Mundil et al. (2004) and Mattinson (2005). After standard mineral separation procedures, zircons were handpicked in alcohol. The clearest, crack- and inclusion-free grains were selected, photographed and then annealed in quartz glass crucibles at 900°C for 60 hours. Annealed grains were transferred into 3.5 mL PFA screwtop beakers, ultrapure HF (up to 50% strength, 500 μL) and HNO3 (up to 14 N, 50 μL) were added and caps were closed finger tight. The beakers were placed in 125 mL PTFE liners (up to four per liner) and about 2 mL HF and 0.2 mL HNO3 of the same strength as acid within beakers containing samples were added to the liners. The liners were then slid into stainless steel Parr™ high pressure dissolution devices, which were sealed and brought up to a maximum of 200°C for 8-16 hours (typically 175°C for 12 hours). Beakers were removed from liners and zircon was separated from leachate. Zircons were rinsed with >18 MΩ.cm water and subboiled acetone. Then 2 mL of subboiled 6N HCl was added and beakers were set on a hotplate at 80-130°C for 30 minutes and again rinsed with water and acetone. Masses were estimated from the dimensions (volumes) of grains. Single grains were transferred into clean 300 uL PFA microcapsules (crucibles), and 50 μL 50% HF and 5 μL 14 N HNO3 were added. Each was spiked with a 233-235U-205Pb tracer solution (typically 2 μL), capped and again placed in a Parr liner (8-13 microcapsules per liner). HF and nitric acids in a 10:1 ratio, respectively, were added to the liner, which was then placed in Parr high pressure device and dissolution was achieved at 240°C for 40 hours. The resulting solutions were dried on a hotplate at 130°C, 50 μL 6N HCl was added to microcapsules and fluorides were dissolved in high pressure Parr devices for 12 hours at 210°C. HCl solutions were transferred into clean 7 mL PFA beakers and dried with 2 μL of 0.5 N H3PO4. Samples were loaded onto degassed, zone-refined Re filaments in 2 μL of silicic acid emitter (Gerstenberger and Haase, 1997).

Isotopic ratios were measured using a modified single collector VG-54R or 354S (with sector 54 electronics) thermal ionization mass spectrometer equipped with analogue Dalyphotomultipliers. Measurements were done in peak-switching mode on the Daly detector. Analytical blanks were 0.2 pg for U and for Pb in the range of 1-10 pg. U fractionation was determined directly on individual runs using the 233-235 U tracer, and Pb isotopic ratios were corrected for fractionation of 0.23%/amu, based on replicate analyses of the NBS-982 Pb reference material and the values recommended by Thirlwall (2000). Data reduction employed algorithms of Schmitz and Schoene (2007) and Crowley et al (2007) and decay constants of Jaffey et al. (1971). Standard concordia diagrams were constructed and regression intercepts, weighted averages calculated with Isoplot (Ludwig, 2003). Unless otherwise noted, all errors are quoted at the 2σ or 95% level of confidence.

Geochemical analytical techniques

Whole rock analysis for major and trace elements was performed at Bureau Veritas Mineral Laboratories in September 2016. Rock samples were crushed and a 250 g split was pulverized to 200 mesh. Following fusion in lithium borate, major and trace elements were analyzed by inductively coupled plasma - mass spectrometry (ICP-MS) or emission spectrometry (ICP-ES), following their procedure LF200, which includes total whole rock characterization with AQ200 add-on (LF302 Standard suite major oxides, ICP-ES) + LF100-EXT (refractory and rare earth elements, ICP-MS). Duplicate analyses were performed on 5 samples from the suite and 5 standards (see QC table in data file). Analytical uncertainties for each element or oxide are listed in the data table.

References

Crowley, J.L., Schoene, B. and Bowring, S.A. 2007. U-Pb dating of zircon in the Bishop Tuff at the millenial scale. Geology, 35, 1123-1126.

Gerstenberger, H. and Haase, G. 1997. A highly effective emitter substance for mass spectrometric Pb isotope ratio determinations. Chemical Geology 136, 309–312.

Jaffey, A.H., Flynn, K.F., Glendenin, L.E., Bentley, W.C. and Essling, A.M. 1971. Precision measurement of half-lives and specific activities of 235U and 238U. Physics Reviews, C4, 1889-1906.

Ludwig, K.R. 2003. Users manual for ISOPLOT/EX version 3. A geochronological toolkit for Microsoft Excel. Berkeley Geochronology Centre, Special Publication 4.

Mattinson, J.M., 2005. Zircon U–Pb chemical abrasion (“CA-TIMS”) method: Combined

annealing and multi-step partial dissolution analysis for improved precision and accuracy of

zircon ages, Chemical Geology, 220, 47-66.

Mundil, R., Ludwig, K.R., Metcalfe, I. and Renne, P.R. 2004. Age and timing of the Permian mass extinctions: U/Pb dating of closed-system sirzoncs. Science, 305, 1760-1763.

Nelson, J. 2017. Composite pericratonic basement of west-central Stikinia and its influence on Jurassic magma conduits: Examples from the Terrace-Ecstal and Anyox areas. In: Geological Fieldwork 2016, British Columbia Ministry of Energy and Mines, British Columbia Geological Survey Paper 2017-1, pp. 61-82.

Schmitz, M.D. and Schoen, B. 2007. Derivation of isotope ratios, errors, and error correlations of U-Pb geochronology using 205Pb-235U-(233U)-spiked isotope dilution thermal ionization mass spectrometric data. Geochemistry, Geophysics, Geosystems 8, doi:10.1029/2006GC001492 (G3), Q08006.

Thirlwall, M.F. 2000. Inter-laboratory and other errors in Pb isotope analyses investigated using a 207Pb–204Pb double spike. Chemical Geology, 163, 299–322.