# Appendix E - Analysis method descriptions

## Moss Mat sediment - HCl - HNO3 - H2O dissolution - ICP-ES/MS

A split of the recovered -80 mesh material was analyzed for 37 elements (aluminum, antimony, arsenic, barium, bismuth, boron, cadmium, calcium, chromium, cobalt, copper, gallium, gold, iron, lanthanum, lead, magnesium, manganese, mercury, molybdenum, nickel, phosphorus, potassium, scandium, selenium, silver, sodium, strontium, sulphur, tellurium, thallium, thorium, titanium, tungsten, uranium, vanadium and zinc) by Acme Analytical Laboratories Ltd., (now Buer Veritas) Vancouver, B.C., ICP. One gram of the sample was digested with 6 ml of HCl, HNO3 and distilled, deionized H2O (2:2:2 v/v) at 95oC for one hour, the solution then diluted to 20 ml and analysed for major elements (e.g. Al, Ca) by inductively coupled plasma emission spectroscopy (ICP-ES) on a Jarell Ash instrument and for trace lements (e.g. Cu) by inductively coupled plasma mass spectrometry (ICP-MS) on a Perkin Elmer Elan 6000 instrument. The data is listed in Appendix B.

## Moss Mat sediment - Instrumental Neutron Activation (INAA)

A second split (12 to 42 g; average weight 31 g), of each sample was analyzed by INAA for 35 elements (antimony, arsenic, barium, bromine, calcium, cerium, cesium, chromium, cobalt, europium, gold, hafnium, iridium, iron, lanthanum, lutetium, mercury, molybdenum, neodymium, nickel, rubidium, samarium, scandium, selenium, silver, sodium, strontium, tantalum, terbium, thorium, tin, tungsten, uranium, ytterbium and zinc) at Activation Laboratories Ltd., Ancaster, Ontario. This technique involves irradiating the sample for 30 minutes in a neutron flux of 7x1011 neutrons/cm2/ second. After a decay period of approximately 1 week, gamma-ray emissions for the elements were measured using a gamma-ray spectrometer with a high-resolution, coaxial germanium detector. Counting time was approximately 15 minutes per sample and the results were compiled on a computer and converted to concentrations. The INAA data is listed in Appendix C. Silver, Hg, Ni, Mo, Ir and Sn are not included because of inadequate detection limits and/or poor precision for these elements.

## Moss Mat sediment - Fluoride and loss on ignition (LOI)

Fluorine was measured by specific ion electrode (Ficklin , 1970). A 250 mg sample was sintered with a 1 g of flux consisting of two parts by weight Na2CO3  and 1 part by weight KNO3 and the residue was leached with H2O. The Na2CO3  was neutralized with 10 ml of C ₆H ₈O ₇ (citric acid), and the resulting solution diluted with water to 100 ml. Fluoride was then measured with a F ion specific ion electrode (ION) and a reference electrode. The results of the F analysis are listed in Appendix B.

Loss on ignition (LOI) was determined by weighing a 0.5 g sample into a 30 ml beaker, placed the beaker in a cold muffle furnace and heated the furnace to 500ºC over a period of 2 to 3 hours. The sample was maintained at this temperature for 4 hours, then allowed to cool to room temperature before weighing (GRAV). The results of the LOI analysis are listed in Appendix B.

## Water Analysis  - pH, uranium and sulphate.

The unfiltered stream water samples were analyzed for pH, U, F and SO4 at CanTech Laboratories, Inc., Calgary. Lower detection limits are listed in Table 1.

Hydrogen ion activity (pH) was measured, on a separate sample aliquot, with a Fisher Accumet pH meter with glass-calomel combination electrode (GCE).

Uranium was determined by laser-induced fluorescence (LIF) using a Scintrex UA-3 uranium analyzer. A complexing agent, known commercially as Fluran and composed of sodium pyrophosphate and sodium monophosphate (Hall, 1979), is added to produce a uranyl pyrophosphate species which fluoresces when exposed to the laser. As organic matter in the sample can cause unpredictable behaviour to the U-Fluran reaction, standard addition is used to compensate for potential interference. A total of 500 μl of Fluran solution was added to a 5 ml water sample and the analysis was delayed for 24 hours to allow for a slow reaction of the U with the complexing agent. After 24 hours fluorescence readings were made with the addition of 0.0, 0.2 and 0.4 ppb U. For high U concentration, the additions were 0.0, 2.0 and 4.0 ppb U. All readings are compared to a sample blank.

Fluoride was determined by ion selective electrode (ION). A 20 ml aliquot of the sample was mixed with 20 ml  of TISAB II (total ionic strength adjustment buffer) buffer solution. Fluoride was determined with an Orion fluoride electrode in conjunction with a Corning ion meter.

Sulphate was determined by a turbidimetric method (TURB). A 50 ml aliquot was mixed with barium chloride and an isopropyl alcohol-HCl-NaCl reagent, and turbidity of the resulting barium sulphate solution measured with a spectrophotometer at 420 nanometres. Results of the water sample analysis are listed in Appendix  D.