## Appendix 5a Lead isotopic data
Appendix 5a. Lead isotopic data.
Sample | Site (Field ID) | Type | Size fraction | Analytical method | Laboratory | Batch | Status | Longitude (dd) | Latitude (dd) | Watershed | Pb [ppm] | 206Pb/204Pb | 2SE | 207Pb/204Pb | 2SE | 208Pb/204Pb | 2SE | 206Pb/207Pb | 2SE | 208Pb/206Pb | 2SE
1007 | 1007 | Stream water |  | Direct HR-ICP-MS | PCIGR | 2019-06-13 | Routine | -124.2573 | 48.4955 | Loss Creek | <0.000001 | 18.6315 | 0.21431 | 15.5292 | 0.17607 | 38.1421 | 0.42074 | 1.1998 | 0.001447 | 2.0472 | 0.0021237
2005 | 2005 | Stream water |  | Direct HR-ICP-MS | PCIGR | 2019-08-14 | Routine | -127.788 | 50.6076 | Hushamu Creek | 5.6e-05 | 18.5819 | 0.061385 | 15.6267 | 0.1098 | 38.0898 | 0.077797 | 1.1892 | 0.0084968 | 2.0498 | 0.010196
2005-rep | 2005 | Stream water |  | Direct HR-ICP-MS | PCIGR | 2019-08-14 | Repeated run at half intensity | -127.788 | 50.6076 | Hushamu Creek | 5.6e-05 | 18.5395 | 0.23099 | 15.5451 | 0.2204 | 38.0058 | 0.40982 | 1.1927 | 0.0053292 | 2.05 | 0.0045984
2006 | 2006 | Stream water |  | Direct HR-ICP-MS | PCIGR | 2019-08-14 | Routine | -127.8258 | 50.6335 | Hushamu Creek | 0.000135 | 18.6327 | 0.12693 | 15.6149 | 0.13533 | 38.2473 | 0.22451 | 1.1933 | 0.0031971 | 2.0527 | 0.0032465
2006-dup | 2006 | Stream water |  | Direct HR-ICP-MS | PCIGR | 2019-08-14 | Duplicated process | -127.8258 | 50.6335 | Hushamu Creek | 0.000135 | 18.5131 | 0.14358 | 15.6194 | 0.12011 | 38.1178 | 0.31056 | 1.1853 | 0.0064875 | 2.059 | 0.007848
2006-rep1 | 2006 | Stream water |  | Direct HR-ICP-MS | PCIGR | 2019-08-14 | Repeated run | -127.8258 | 50.6335 | Hushamu Creek | 0.000135 | 18.2133 | 0.079521 | 15.3702 | 0.057077 | 37.4555 | 0.10978 | 1.185 | 0.00088515 | 2.0565 | 0.0067247
2006-rep2 | 2006 | Stream water |  | Direct HR-ICP-MS | PCIGR | 2019-08-14 | Repeated run at half intensity | -127.8258 | 50.6335 | Hushamu Creek | 0.000135 | 18.4484 | 0.1379 | 15.5475 | 0.17926 | 37.9205 | 0.29982 | 1.1866 | 0.005795 | 2.0555 | 0.0062037
2007 | 2007 | Stream water |  | Direct HR-ICP-MS | PCIGR | 2019-08-14 | Routine | -127.8288 | 50.6615 | Hushamu Creek | 9.5e-05 | 18.1831 | 0.15787 | 15.3887 | 0.12272 | 37.4799 | 0.31451 | 1.1816 | 0.0023061 | 2.0613 | 0.0029258
2008 | 2008 | Stream water |  | Direct HR-ICP-MS | PCIGR | 2019-08-14 | Routine | -127.8289 | 50.6336 | Hushamu Creek | <0.000001 | 18.4592 | 0.2375 | 15.6557 | 0.22753 | 38.1013 | 0.52229 | 1.1791 | 0.0023206 | 2.064 | 0.0031562
2009 | 2009 | Stream water |  | Direct HR-ICP-MS | PCIGR | 2019-08-14 | Routine | -127.7534 | 50.6067 | Youghpan Creek | 8.3e-05 | 18.4013 | 0.17974 | 15.4977 | 0.092228 | 37.8863 | 0.32657 | 1.1873 | 0.0045355 | 2.0589 | 0.0025041
2010 | 2010 | Stream water |  | Direct HR-ICP-MS | PCIGR | 2019-08-14 | Routine | -127.7152 | 50.6088 | Wanokana Creek | 1.7e-05 | 18.5017 | 0.1543 | 15.4634 | 0.11904 | 37.924 | 0.30953 | 1.1965 | 0.0017524 | 2.0497 | 0.0042668
2011 | 2011 | Stream water |  | Direct HR-ICP-MS | PCIGR | 2019-08-14 | Field duplicate | -127.7042 | 50.6547 | Wanokana Creek | <0.000001 | 18.4049 | 0.15059 | 15.409 | 0.15548 | 37.7087 | 0.34361 | 1.1945 | 0.0031988 | 2.0488 | 0.0049847
2012 | 2012 | Stream water |  | Direct HR-ICP-MS | PCIGR | 2019-08-14 | Field duplicate | -127.7041 | 50.6546 | Wanokana Creek | <0.000001 | 18.4191 | 0.27642 | 15.5512 | 0.25845 | 37.9642 | 0.68244 | 1.1845 | 0.0061508 | 2.0611 | 0.012497
2016 | 2016 | Stream water |  | Direct HR-ICP-MS | PCIGR | 2019-08-14 | Routine | -127.7138 | 50.6572 | Wanokana Creek | <0.000001 | 18.4159 | 0.19735 | 15.5843 | 0.16595 | 38.0749 | 0.47226 | 1.1817 | 0.0021114 | 2.0675 | 0.005923
2017 | 2017 | Stream water |  | Direct HR-ICP-MS | PCIGR | 2019-08-14 | Routine | -127.5993 | 50.6372 | Caledonia Creek | 2.6e-05 | 18.4709 | 0.16899 | 15.5652 | 0.1582 | 38.077 | 0.37953 | 1.1867 | 0.0013692 | 2.0614 | 0.0053732
2017-dup | 2017 | Stream water |  | Direct HR-ICP-MS | PCIGR | 2019-08-14 | Duplicated process | -127.5993 | 50.6372 | Caledonia Creek | 2.6e-05 | 18.337 | 0.092782 | 15.4286 | 0.06635 | 37.7516 | 0.15149 | 1.1885 | 0.0041151 | 2.0587 | 0.0070136
2017-rep | 2017 | Stream water |  | Direct HR-ICP-MS | PCIGR | 2019-08-14 | Repeated run | -127.5993 | 50.6372 | Caledonia Creek | 2.6e-05 | 18.1662 | 0.14056 | 15.3218 | 0.1306 | 37.4938 | 0.2434 | 1.1856 | 0.0024399 | 2.0639 | 0.0058265
2018 | 2018 | Stream water |  | Direct HR-ICP-MS | PCIGR | 2019-08-14 | Routine; low intensity run | -127.8818 | 50.7134 | Hepler Creek | <0.000001 | 18.4246 | 0.49566 | 15.6364 | 0.41187 | 37.8972 | 1.1318 | 1.1784 | 0.016771 | 2.0568 | 0.015652
2027 | 2027 | Stream water |  | Direct HR-ICP-MS | PCIGR | 2019-08-14 | Routine; daily monitor | -127.4869 | 50.6864 | Quatse River | 1.9e-05 | 18.3244 | 0.1126 | 15.5863 | 0.15091 | 38.1019 | 0.33679 | 1.1757 | 0.0050966 | 2.0793 | 0.0086067
2028 | 2027 | Stream water |  | Direct HR-ICP-MS | PCIGR | 2019-08-14 | Daily monitor | -127.4869 | 50.6864 | Quatse River | <0.000001 | 18.4986 | 0.29704 | 15.7143 | 0.24928 | 38.359 | 0.59026 | 1.1772 | 0.0040694 | 2.0736 | 0.0043153
2029 | 2027 | Stream water |  | Direct HR-ICP-MS | PCIGR | 2019-08-14 | Daily monitor | -127.4869 | 50.6864 | Quatse River | <0.000001 | 18.252 | 0.21222 | 15.5383 | 0.18993 | 37.9017 | 0.52237 | 1.1747 | 0.0037448 | 2.0765 | 0.0056659
2030 | 2027 | Stream water |  | Direct HR-ICP-MS | PCIGR | 2019-08-14 | Daily monitor | -127.4869 | 50.6864 | Quatse River | <0.000001 | 18.3546 | 0.11184 | 15.6432 | 0.13658 | 38.1111 | 0.34189 | 1.1733 | 0.0032544 | 2.0764 | 0.0075509
1002A | 1002 | Panned HMC | <1 mm sieved, milled | HR-ICP-MS on 2.5N HCl leachate | PCIGR | 2019-05-15 | Field duplicate 1; duplicate 1 | -124.2573 | 48.4955 | Loss Creek | 3 | 19.1913 | 0.11012 | 15.9708 | 0.11327 | 39.4063 | 0.25232 | 1.2016 | 0.0019606 | 2.0533 | 0.0027798
1002A-rep | 1002 | Panned HMC | <1 mm sieved, milled | HR-ICP-MS on 2.5N HCl leachate | PCIGR | 2019-05-15 | Field duplicate 1; duplicate 1; replicate run | -124.2573 | 48.4955 | Loss Creek | 3 | 18.8645 | 0.07646 | 15.824 | 0.055374 | 38.8303 | 0.13887 | 1.1921 | 0.0020895 | 2.0584 | 0.0025534
1002B | 1002 | Panned HMC | <1 mm sieved, milled | HR-ICP-MS on 2.5N HCl leachate | PCIGR | 2019-05-15 | Field duplicate 1; duplicate 1 | -124.2573 | 48.4955 | Loss Creek | 2.09 | 19.298 | 0.071008 | 16.1135 | 0.040042 | 39.7071 | 0.10432 | 1.1976 | 0.0028134 | 2.0576 | 0.0033667
1002C | 1002 | Wilfley table HMC | <1 mm sieved, milled | HR-ICP-MS on 2.5N HCl leachate | PCIGR | 2019-05-15 | Field duplicate 1; duplicate 2 | -124.2573 | 48.4955 | Loss Creek | 4 | 18.8613 | 0.078382 | 15.7329 | 0.075889 | 38.7228 | 0.16483 | 1.1988 | 0.0011936 | 2.053 | 0.001442
1002D | 1002 | Wilfley table HMC | <1 mm sieved, milled | HR-ICP-MS on 2.5N HCl leachate | PCIGR | 2019-05-15 | Field duplicate 1; duplicate 2 | -124.2573 | 48.4955 | Loss Creek | 5 | 18.9191 | 0.10877 | 15.8311 | 0.11538 | 38.9214 | 0.22466 | 1.1951 | 0.0026826 | 2.0572 | 0.00592
1002E | 1002 | Wilfley table HMC | <1 mm sieved, milled | HR-ICP-MS on 2.5N HCl leachate | PCIGR | 2019-05-15 | Field duplicate 1; duplicate 3 | -124.2573 | 48.4955 | Loss Creek | 2.87 | 18.7975 | 0.06498 | 15.7763 | 0.073344 | 38.6865 | 0.13685 | 1.1915 | 0.0026198 | 2.0581 | 0.0049513
1002E-rep | 1002 | Wilfley table HMC | <1 mm sieved, milled | HR-ICP-MS on 2.5N HCl leachate | PCIGR | 2019-05-15 | Field duplicate 1; duplicate 3; replicate run | -124.2573 | 48.4955 | Loss Creek | 2.87 | 18.8645 | 0.07646 | 15.824 | 0.055374 | 38.8303 | 0.13887 | 1.1921 | 0.0020895 | 2.0584 | 0.0025534
1002F | 1002 | Wilfley table HMC | <1 mm sieved, milled | HR-ICP-MS on 2.5N HCl leachate | PCIGR | 2019-05-15 | Field duplicate 1; duplicate 3 | -124.2573 | 48.4955 | Loss Creek | 2.67 | 18.9452 | 0.10402 | 15.9662 | 0.088303 | 39.057 | 0.2066 | 1.1866 | 0.0010329 | 2.0616 | 0.0025596
1007 | 1007 | Panned sluice HMC | <1 mm sieved, milled | HR-ICP-MS on 2.5N HCl leachate | PCIGR | 2019-09-09 | Field duplicate 1 | -124.2573 | 48.4955 | Loss Creek | 35.49 | 18.7896 | 0.089625 | 15.6807 | 0.07659 | 38.6122 | 0.234 | 1.1983 | 0.0018236 | 2.055 | 0.0028277
1002G | 1002 | Stream sediment | <0.18 mm sieved | HR-ICP-MS on 2.5N HCl leachate | PCIGR | 2019-05-15 | Routine | -124.2573 | 48.4955 | Loss Creek | 2.67 | 18.9131 | 0.11544 | 15.6485 | 0.11931 | 38.7236 | 0.23573 | 1.2086 | 0.0023309 | 2.0475 | 0.0040177
1002H | 1002 | Moss-mat sediment | <0.18 mm sieved | HR-ICP-MS on 2.5N HCl leachate | PCIGR | 2019-05-15 | Routine | -124.2573 | 48.4955 | Loss Creek | 2.49 | 18.8643 | 0.11923 | 15.5802 | 0.089963 | 38.5344 | 0.18962 | 1.2108 | 0.0027848 | 2.0427 | 0.0052095
1002A | 1002 | Panned HMC | <1 mm sieved, milled | ICP-MS on aqua regia leachate | ALS | 2019-05-15 | Field duplicate 1; duplicate 1 | -124.2573 | 48.4955 | Loss Creek | 3 | 18.52 |  | 15.49 |  | 37.85 |  | 1.193 |  | 2.044
1002B | 1002 | Panned HMC | <1 mm sieved, milled | ICP-MS on aqua regia leachate | ALS | 2019-05-15 | Field duplicate 1; duplicate 1 | -124.2573 | 48.4955 | Loss Creek | 2.09 | 18.55 |  | 15.55 |  | 38.65 |  | 1.197 |  | 2.083
1002C | 1002 | Wilfley table HMC | <1 mm sieved, milled | ICP-MS on aqua regia leachate | ALS | 2019-05-15 | Field duplicate 1; duplicate 2 | -124.2573 | 48.4955 | Loss Creek | 4 | 18.73 |  | 15.65 |  | 38.65 |  | 1.2 |  | 2.063
1002D | 1002 | Wilfley table HMC | <1 mm sieved, milled | ICP-MS on aqua regia leachate | ALS | 2019-05-15 | Field duplicate 1; duplicate 2 | -124.2573 | 48.4955 | Loss Creek | 5 | 18.74 |  | 15.68 |  | 38.95 |  | 1.199 |  | 2.079
1002E | 1002 | Wilfley table HMC | <1 mm sieved, milled | ICP-MS on aqua regia leachate | ALS | 2019-05-15 | Field duplicate 1; duplicate 3 | -124.2573 | 48.4955 | Loss Creek | 2.87 | 18.67 |  | 15.78 |  | 38.64 |  | 1.188 |  | 2.07
1002F | 1002 | Wilfley table HMC | <1 mm sieved, milled | ICP-MS on aqua regia leachate | ALS | 2019-05-15 | Field duplicate 1; duplicate 3 | -124.2573 | 48.4955 | Loss Creek | 2.67 | 18.95 |  | 15.93 |  | 39.27 |  | 1.193 |  | 2.073
1002G | 1002 | Stream sediment | <0.18 mm sieved | ICP-MS on aqua regia leachate | ALS | 2019-05-15 | Routine | -124.2573 | 48.4955 | Loss Creek | 2.67 | 18.52 |  | 15.45 |  | 37.51 |  | 1.192 |  | 2.026
1002H | 1002 | Moss-mat sediment | <0.18 mm sieved | ICP-MS on aqua regia leachate | ALS | 2019-05-15 | Routine | -124.2573 | 48.4955 | Loss Creek | 2.49 | 18.63 |  | 15.41 |  | 37.83 |  | 1.205 |  | 2.03
2005 | 2005 | Panned sluice HMC | <1 mm sieved, milled | HR-ICP-MS on 2.5N HCl leachate | PCIGR | 2019-09-09 | Duplicate 4; milled by low-Cr steel pestle and mortar | -127.788 | 50.6076 | Hushamu Creek | 8.79 | 18.5476 | 0.089674 | 15.5864 | 0.066597 | 38.0846 | 0.20422 | 1.19 | 0.0018919 | 2.0533 | 0.0014939
2005-dup | 2005 | Panned sluice HMC | <1 mm sieved, milled | HR-ICP-MS on 2.5N HCl leachate | PCIGR | 2019-09-09 | Duplicate 4; milled by agate pestle and mortar | -127.788 | 50.6076 | Hushamu Creek | 8.79 | 18.4336 | 0.040458 | 15.5291 | 0.058327 | 37.9318 | 0.10256 | 1.187 | 0.0027969 | 2.0577 | 0.0018268
2005-rep | 2005 | Panned sluice HMC | <1 mm sieved, milled | HR-ICP-MS on 2.5N HCl leachate | PCIGR | 2019-09-09 | Duplicate 4; repeated run | -127.788 | 50.6076 | Hushamu Creek | 8.79 | 18.4253 | 0.098299 | 15.4353 | 0.024626 | 37.8753 | 0.24787 | 1.1897 | 0.0022624 | 2.0556 | 0.0028701
2019 | 2005 | Panned sluice HMC | <1 mm sieved, milled | HR-ICP-MS on 2.5N HCl leachate | PCIGR | 2019-09-09 | Duplicate 4 | -127.788 | 50.6076 | Hushamu Creek | 8.34 | 18.4501 | 0.12269 | 15.5455 | 0.10152 | 38.0505 | 0.29211 | 1.1868 | 0.00044058 | 2.0623 | 0.002729
2006 | 2006 | Panned sluice HMC | <1 mm sieved, milled | HR-ICP-MS on 2.5N HCl leachate | PCIGR | 2019-09-09 | Routine | -127.8258 | 50.6335 | Hushamu Creek | 11.03 | 18.4441 | 0.12146 | 15.5771 | 0.10111 | 38.0176 | 0.24333 | 1.1841 | 0.00084651 | 2.0612 | 0.0018827
2006-dup | 2006 | Panned sluice HMC | <1 mm sieved, milled | HR-ICP-MS on 2.5N HCl leachate | PCIGR | 2019-09-09 | Routine; laboratory procedural duplicate | -127.8258 | 50.6335 | Hushamu Creek | 11.03 | 18.3015 | 0.13176 | 15.4916 | 0.086813 | 37.8151 | 0.21797 | 1.1814 | 0.0024842 | 2.0663 | 0.003144
2006-rep | 2006 | Panned sluice HMC | <1 mm sieved, milled | HR-ICP-MS on 2.5N HCl leachate | PCIGR | 2019-09-09 | Routine; repeat run | -127.8258 | 50.6335 | Hushamu Creek | 11.03 | 18.3072 | 0.13118 | 15.4635 | 0.11286 | 37.7904 | 0.25284 | 1.1839 | 0.0020709 | 2.0624 | 0.0010085
2007 | 2007 | Panned sluice HMC | <1 mm sieved, milled | HR-ICP-MS on 2.5N HCl leachate | PCIGR | 2019-09-09 | Routine | -127.8288 | 50.6615 | Hushamu Creek | 14.18 | 18.4704 | 0.10065 | 15.5665 | 0.080253 | 38.0161 | 0.18715 | 1.1866 | 0.0027471 | 2.0586 | 0.0040419
2008 | 2008 | Panned sluice HMC | <1 mm sieved, milled | HR-ICP-MS on 2.5N HCl leachate | PCIGR | 2019-09-09 | Routine | -127.8289 | 50.6336 | Hushamu Creek | 5.03 | 18.4953 | 0.049656 | 15.5332 | 0.038053 | 38.0021 | 0.082047 | 1.1907 | 0.0029232 | 2.0551 | 0.003439
2009 | 2009 | Panned sluice HMC | <1 mm sieved, milled | HR-ICP-MS on 2.5N HCl leachate | PCIGR | 2019-09-09 | Routine | -127.7534 | 50.6067 | Youghpan Creek | 8.43 | 18.5193 | 0.063654 | 15.568 | 0.04231 | 38.0393 | 0.14265 | 1.1896 | 0.0014363 | 2.054 | 0.0034211
2010 | 2010 | Panned sluice HMC | <1 mm sieved, milled | HR-ICP-MS on 2.5N HCl leachate | PCIGR | 2019-09-09 | Routine | -127.7152 | 50.6088 | Wanokana Creek | 4.87 | 18.4582 | 0.048334 | 15.6627 | 0.0595 | 38.301 | 0.10886 | 1.1785 | 0.0031062 | 2.075 | 0.0051621
2011 | 2011 | Panned sluice HMC | <1 mm sieved, milled | HR-ICP-MS on 2.5N HCl leachate | PCIGR | 2019-09-09 | Field duplicate 2 | -127.7042 | 50.6547 | Wanokana Creek | 3.19 | 18.6709 | 0.12271 | 15.5754 | 0.091614 | 38.2117 | 0.23959 | 1.1987 | 0.0012412 | 2.0466 | 0.0016171
2012 | 2012 | Panned sluice HMC | <1 mm sieved, milled | HR-ICP-MS on 2.5N HCl leachate | PCIGR | 2019-09-09 | Field duplicate 2; duplicate 5 | -127.7041 | 50.6546 | Wanokana Creek | 3.71 | 18.6437 | 0.13493 | 15.5053 | 0.10304 | 38.1297 | 0.24701 | 1.2024 | 0.0031713 | 2.0452 | 0.0040811
2020 | 2012 | Panned sluice HMC | <1 mm sieved, milled | HR-ICP-MS on 2.5N HCl leachate | PCIGR | 2019-09-09 | Field duplicate 2; duplicate 5 | -127.7041 | 50.6546 | Wanokana Creek | 3.58 | 18.7888 | 0.10716 | 15.6423 | 0.095971 | 38.4222 | 0.20712 | 1.2011 | 0.0022622 | 2.045 | 0.0017732
2016 | 2016 | Panned sluice HMC | <1 mm sieved, milled | HR-ICP-MS on 2.5N HCl leachate | PCIGR | 2019-09-09 | Routine | -127.7138 | 50.6572 | Wanokana Creek | 4.66 | 18.5093 | 0.074702 | 15.5904 | 0.064842 | 38.2343 | 0.18551 | 1.1872 | 0.0007767 | 2.0657 | 0.0031659
2017 | 2017 | Panned sluice HMC | <1 mm sieved, milled | HR-ICP-MS on 2.5N HCl leachate | PCIGR | 2019-09-09 | Routine | -127.5993 | 50.6372 | Caledonia Creek | 5.28 | 18.6581 | 0.1084 | 15.5427 | 0.094174 | 38.1597 | 0.23914 | 1.2004 | 0.0015285 | 2.0452 | 0.0026584
2027 | 2027 | Panned sluice HMC | <1 mm sieved, milled | HR-ICP-MS on 2.5N HCl leachate | PCIGR | 2019-09-09 | Routine | -127.4869 | 50.6864 | Quatse River | 1.2 | 18.7282 | 0.080889 | 15.5431 | 0.038433 | 38.3448 | 0.1389 | 1.2049 | 0.0026846 | 2.0474 | 0.0017028
19ARU001 |  | Mineralized rock | milled | HR-ICP-MS on 2.5N HCl leachate | PCIGR | 2019-09-09 | Routine | -127.6058 | 50.6456 | Caledonia Creek | 2971 | 18.4271 | 0.073264 | 15.4778 | 0.071052 | 37.9015 | 0.1305 | 1.1905 | 0.0016123 | 2.0568 | 0.0034883
19ARU002 |  | Mineralized rock | milled | HR-ICP-MS on 2.5N HCl leachate | PCIGR | 2019-09-09 | Routine | -127.6058 | 50.6456 | Caledonia Creek | 11600 | 18.5215 | 0.14433 | 15.5653 | 0.11443 | 38.1085 | 0.32584 | 1.1899 | 0.001765 | 2.0575 | 0.0032547
Relative precision in terms of average coefficient of variation, CVavr (in %), based on duplicate pairs (N)
CVavr (%); N = 22 |  | HMC and reference materials |  | HR-ICP-MS on 2.5N HCl leachate | PCIGR | [6 empty] | 0.43188 |  | 0.49342 |  | 0.41826 |  | 0.28472 |  | 0.15043
CVavr (%); N = 8 |  | HMC and reference materials |  | ICP-MS on aqua regia leachate | ALS | [6 empty] | 0.71805 |  | 0.77644 |  | 0.95922 |  | 0.45522 |  | 0.54831
CVavr (%); N = 6 |  | Stream water |  | Direct HR-ICP-MS | PCIGR | [6 empty] | 0.86363 |  | 0.75698 |  | 0.82232 |  | 0.38356 |  | 0.2072
Notes:
Stream water samples were filtered (0.45 µm) and acidified with nitric acid in the field; HMC = heavy mineral concentrate.
Analytical methods: Direct HR-ICP-MS = Pb isotopic ratios measured directly in stream water on a Nu AttoM double-focusing, high-resolution magnetic sector inductively coupled plasma mass spectrometry (HR-ICP-MS), using sample-standard bracketing correction for instrumental mass bias; ICP-MS on aqua regia leachate = aqua regia digestion of 0.5 g sample and measuring Pb isotopic ratios in the supernatant solution by ICP-MS; HR-ICP-MS on 2.5N HCl leachate = 2.5N HCl leaching of 0.3-0.5 g sample (0.3 mg of mineralized rock pulp) and measuring Pb isotopic ratios in the supernatant solution on the AttoM HR-ICP-MS, using sample-standard bracketing correction for instrumental mass bias. See Rukhlov et al. (2020) for details.
Laboratories: PCIGR = Pacific Centre for Isotopic and Geochemical Research, University of British Columbia, Vancouver, British Columbia; ALS = ALS Canada (Geochemistry) Ltd., Vancouver, British Columbia.
Relative precision in terms of average coefficient of variation, CVavr (in %), based on duplicate pairs was estimated as follows:
where ai and bi are duplicate results, and N is the number of duplicate pairs (after Abzalov, 2008).
𝐶𝑉_𝑎𝑣𝑟 (%)=100⋅√(2/𝑁 ∑129_(𝑖=1)^𝑁▒((𝑎_𝑖−𝑏_𝑖 )^2/(𝑎_𝑖+𝑏_𝑖 )^2 ) )

## Appendix 5b Quality controls
Appendix 5b. Lead isotopic compositions of reference materials and blanks.
Sample | Batch | Laboratory | Analytical method | Status | Pb [ppm] | 206Pb/204Pb | 2SE | 207Pb/204Pb | 2SE | 208Pb/204Pb | 2SE | 206Pb/207Pb | 2SE | 208Pb/206Pb | 2SE
Reference materials
EMOG-17 in-house laboratory reference material
EMOG-17 | 2019-05-15 | ALS | ICP-MS on aqua regia leachate |  |  | 18.3 |  | 15.7 |  | 38.18 |  | 1.165 |  | 2.086
CCRMP SY-4 CRM; diorite gneiss, pulp
SY-4 | 2019-05-15 | ALS | ICP-MS on aqua regia leachate |  | 10 | 20.39 |  | 15.61 |  | 38.38 |  | 1.304 |  | 1.882
BCGS Red Dog 1989 Std; Red Dog Creek, northern Vancouver Island; <0.18 mm-size, sieved fraction of stream sediment
1003 | 2019-05-15 | ALS | ICP-MS on aqua regia leachate |  | 7.23 | 18.74 |  | 15.63 |  | 38.37 |  | 1.2 |  | 2.047
1003-dup | 2019-05-15 | ALS | ICP-MS on aqua regia leachate | Laboratory duplicate | 7.23 | 18.41 |  | 15.42 |  | 37.68 |  | 1.191 |  | 2.047
1003 | 2019-05-15 | PCIGR | HR-ICP-MS on 2.5N HCl leachate |  | 7.23 | 18.6322 | 0.077885 | 15.5674 | 0.043653 | 38.1915 | 0.13984 | 1.1969 | 0.0023235 | 2.0498 | 0.0029089
BCGS Till 2013 Std; Johnson Creek area, central British Columbia; <0.063 mm-size, sieved fraction of till matrix
1004 | 2019-05-15 | ALS | ICP-MS on aqua regia leachate |  | 238.16 | 18.94 |  | 15.73 |  | 38.99 |  | 1.207 |  | 2.059
1004 | 2019-05-15 | PCIGR | HR-ICP-MS on 2.5N HCl leachate |  | 238.16 | 19.0596 | 0.059896 | 15.7676 | 0.051695 | 39.045 | 0.10639 | 1.2088 | 0.0028803 | 2.0486 | 0.0022371
USGS BCR-2 CRM; Columbia River basalt, pulp
BCR-2 | 2019-05-15 | PCIGR | HR-ICP-MS on fully digested sample |  | 10.7 | 18.7423 | 0.21173 | 15.6447 | 0.14724 | 38.7992 | 0.40006 | 1.198 | 0.0029912 | 2.0701 | 0.0027369
BCR-2-rep | 2019-05-15 | PCIGR | HR-ICP-MS on fully digested sample | Repeated run | 10.7 | 18.692 | 0.075599 | 15.6335 | 0.067606 | 38.7439 | 0.17158 | 1.1956 | 0.0026214 | 2.0728 | 0.0024255
BCR-2 | 2019-08-14 | PCIGR | HR-ICP-MS on fully digested sample |  | 10.7 | 18.6968 | 0.081908 | 15.632 | 0.044478 | 38.6986 | 0.17374 | 1.1961 | 0.0031642 | 2.0698 | 0.0046723
BCR-2 | 2019-09-09 | PCIGR | HR-ICP-MS on fully digested sample |  | 10.7 | 18.7575 | 0.049133 | 15.6245 | 0.047553 | 38.6985 | 0.10539 | 1.2005 | 0.0028904 | 2.0631 | 0.0040501
BCR-2-rep | 2019-09-09 | PCIGR | HR-ICP-MS on fully digested sample | Repeated run | 10.7 | 18.6249 | 0.11445 | 15.5131 | 0.089543 | 38.5041 | 0.25248 | 1.2006 | 0.0014464 | 2.0673 | 0.0021645
BCR-2 |  | Weis et al. (2006); PCIGR | MC-ICP-MS on fully digested sample | Weighted average (n=11) | 10.7 | 18.7516 | 0.0061284 | 15.6249 | 0.00050906 | 38.721 | 0.01369
BCR-2 | 2019-05-15 | PCIGR | HR-ICP-MS on 2.5N HCl leachate |  | 10.7 | 18.6338 | 0.06046 | 15.6484 | 0.055449 | 38.5334 | 0.08117 | 1.1908 | 0.0018403 | 2.0679 | 0.0028256
BCR-2 | 2019-09-09 | PCIGR | HR-ICP-MS on 2.5N HCl leachate |  | 10.7 | 18.581 | 0.15144 | 15.5792 | 0.11872 | 38.3068 | 0.32816 | 1.1927 | 0.0024855 | 2.0616 | 0.0013068
BCR-2 |  | Rukhlov and Ferbey (2015); PCIGR | MC-ICP-MS on 2.5N HCl leachate |  | 10.7 | 18.6121 | 0.00079 | 15.6259 | 0.000834 | 38.4333 | 0.00284 | 1.1909 | 4.4531e-05 | 2.0651 | 3.84e-05
Blanks
Aldrich 99.995% SiO2 pulverized in Cr-steel bowl
1001 | 2019-05-15 | ALS | ICP-MS on aqua regia leachate | HMC milling blank | 0.1 | 17.99 |  | 15.24 |  | 37.05 |  | 1.181 |  | 2.06
1001 | 2019-05-15 | PCIGR | HR-ICP-MS on 2.5N HCl leachate | HMC milling blank | 0.1 | 18.9349 | 0.086781 | 15.7034 | 0.098199 | 38.7623 | 0.18317 | 1.2058 | 0.0036653 | 2.0471 | 0.0032188
1005 | 2019-05-15 | ALS | ICP-MS on aqua regia leachate | HMC milling blank | 0.1 | 17.71 |  | 14.97 |  | 36.55 |  | 1.179 |  | 2.064
1005 | 2019-05-15 | PCIGR | HR-ICP-MS on 2.5N HCl leachate | HMC milling blank | 0.1 | 19.0854 | 0.12074 | 15.6603 | 0.076919 | 38.6799 | 0.25959 | 1.2187 | 0.0020126 | 2.0267 | 0.0047826
19ARU003 | 2019-09-09 | PCIGR | HR-ICP-MS on 2.5N HCl leachate | Rock milling blank | 0.16 | 19.1327 | 0.055448 | 15.7507 | 0.042885 | 38.9925 | 0.069401 | 1.2147 | 0.0034822 | 2.038 | 0.0048773
Aldrich 99.995% SiO2 pulverized in agate pestle and mortar
2000 | 2019-09-09 | PCIGR | HR-ICP-MS on 2.5N HCl leachate | HMC milling blank; following sample 2005 | 0.03 | 18.1982 | 0.1607 | 15.6058 | 0.13605 | 38.0778 | 0.3234 | 1.1661 | 0.0016483 | 2.0924 | 0.00099084
2024 | 2019-09-09 | PCIGR | HR-ICP-MS on 2.5N HCl leachate | HMC milling blank; following sample 2009 | 0.03 | 18.2394 | 0.038325 | 15.6321 | 0.0096718 | 38.1241 | 0.048824 | 1.1668 | 0.0018241 | 2.0902 | 0.002946
Water blanks
1013 | 2019-06-13 | PCIGR | Direct HR-ICP-MS | Acid blank |  | 18.2662 | 0.21152 | 15.3588 | 0.15406 | 37.7534 | 0.32721 | 1.1893 | 0.010357 | 2.0669 | 0.014352
1012 | 2019-06-13 | PCIGR | Direct HR-ICP-MS | Filtration blank |  | 19.2055 | 0.59246 | 15.8097 | 0.53242 | 38.5976 | 1.321 | 1.2149 | 0.0071466 | 2.0096 | 0.015924
2004 | 2019-08-14 | PCIGR | Direct HR-ICP-MS | Filtration blank | -1e-05 | 17.3096 | 1.6797 | 14.1727 | 1.401 | 34.7307 | 3.3877 | 1.2219 | 0.034121 | 2.0327 | 0.0041117
2015 | 2019-08-14 | PCIGR | Direct HR-ICP-MS | Filtration blank | -1e-05 | 18.9724 | 1.1556 | 16.0201 | 1.0796 | 39.2359 | 2.7682 | 1.1848 | 0.016318 | 2.0536 | 0.00696
Laboratory blanks
Procedural blank | 2019-05-15 | ALS | ICP-MS on aqua regia leachate | Leaching procedure blank |  | 17.91 |  | 15.23 |  | 38.1 |  | 1.176 |  | 2.127
Procedural blank | 2019-05-15 | PCIGR | HR-ICP-MS on 2.5N HCl leachate | Leaching procedure blank |  | 18.2461 | 4.9409 | 15.82 | 4.2574 | 37.4598 | 10.0603 | 1.1517 | 0.019305 | 2.0548 | 0.03144
Procedural blank | 2019-09-09 | PCIGR | HR-ICP-MS on 2.5N HCl leachate | Leaching procedure blank |  | 22.1801 | 2.2942 | 18.8442 | 1.9601 | 45.4556 | 4.8031 | 1.1771 | 0.024344 | 2.0491 | 0.0095288
Procedural blank | 2019-06-13 | PCIGR | Direct HR-ICP-MS | Water procedure blank |  | 19.9088 | 3.5718 | 15.5916 | 2.7225 | 36.8495 | 5.5026 | 1.2763 | 0.042933 | 1.8611 | 0.074022
Procedural blank | 2019-08-14 | PCIGR | Direct HR-ICP-MS | Water procedure blank |  | 17.6819 | 0.27732 | 15.7364 | 0.35472 | 37.5348 | 0.6857 | 1.1238 | 0.011742 | 2.1227 | 0.010667
Procedural blank | 2019-08-14 | PCIGR | Direct HR-ICP-MS | Water procedure blank |  | 17.4106 | 0.56687 | 15.4633 | 0.48254 | 37.1284 | 1.2701 | 1.126 | 0.015504 | 2.1326 | 0.026044
Acid blank | 2019-08-14 | PCIGR | Direct HR-ICP-MS | Laboratory acid blank |  | 17.9987 | 1.9648 | 15.6098 | 1.5854 | 37.7645 | 3.9827 | 1.1523 | 0.016773 | 2.0992 | 0.019467
Notes:
Analytical methods: Direct HR-ICP-MS = Pb isotopic ratios measured directly in stream water on a Nu AttoM double-focusing, high-resolution magnetic sector inductively coupled plasma mass spectrometry (HR-ICP-MS), using sample-standard bracketing correction for instrumental mass bias; ICP-MS on aqua regia leachate = aqua regia digestion of 0.5 g sample and measuring Pb isotopic ratios in the supernatant solution by ICP-MS; HR-ICP-MS on 2.5N HCl leachate = 2.5N HCl leaching of 0.3-0.5 g sample (0.3 mg of mineralized rock pulp) and measuring Pb isotopic ratios in the supernatant solution on the AttoM HR-ICP-MS, using sample-standard bracketing correction for instrumental mass bias; MC-ICP-MS on 2.5N HCl leachate = 2.5N HCl leaching of sample and measuring Pb isotopic ratios in the purified Pb solution on a multi collector ICP-MS (MC-ICP-MS), using sample-standard bracketing correction for instrumental mass bias. Fully digested USGS BCR-2 reference material is analyzed as an internal laboratory quality control. See Rukhlov et al. (2020) for details.
Laboratories: PCIGR = Pacific Centre for Isotopic and Geochemical Research, University of British Columbia, Vancouver, British Columbia; ALS = ALS Canada (Geochemistry) Ltd., Vancouver, British Columbia.