## Re-Os Data and Method
Sample | Re ppm | ± 2s | 187Re ppm | ± 2s | 187Os ppb | ± 2s | Model Age (Ma) | ± 2s with l (Ma)
D23EOR-31-4* | 11.1532 | 0.028544 | 7.0103 | 0.017941 | 6.5405 | 0.0061232 | 55.9755 | 0.23109 | 65258 *
D23EOR-32-14 | 40.7361 | 0.10414 | 25.6044 | 0.065455 | 23.773 | 0.007316 | 55.7049 | 0.22453 | 65260
23EMI-178-1 | 41.5642 | 0.10626 | 26.1249 | 0.066788 | 24.422 | 0.013685 | 56.0854 | 0.22758
23EMI-178-1 rpt | 21.196 | 0.054197 | 13.3226 | 0.034065 | 12.4828 | 0.015199 | 56.2139 | 0.23608
* = contains silicate impurities which dilute the Re and Os abundances but typically do not affect the RE-Os age
mag = molybdenite-bearing magnetic mineral separate fraction
rpt = replicate analysis
Method: | Re-Os Analysis method. Methods used for molybdenite analysis are described in detail by Selby & Creaser (2004). Areas of each sample with visible molybdenite were removed, and preparation of a molybdenite mineral separate was made by metal-free crushing and sieving followed by magnetic and gravity concentration methods.The 187Re and 187Os concentrations in molybdenite were determined by isotope dilution mass spectrometry using Carius-tube, solvent extraction, anion chromatography and negative thermal ionization mass spectrometry techniques. For this work, a mixed, double-Os spike containing known amounts of isotopically enriched 185Re, 190Os, and 188Os analysis was used (Markey et al., 2007). Isotopic analysis used a ThermoScientific Triton mass spectrometer by Faraday collector. Total procedural blanks for Re and Os are less than <3 picograms and <0.5 picograms, respectively, which are insignificant in comparison to the Re and Os concentrations in molybdenite. The Reference Material 8599 Henderson molybdenite (Markey et al., 2007) is routinely analyzed as a standard, and during the past 2 years returned an average Re-Os date of 27.83 ± 0.09 Ma (n=14), indistinguishable within uncertainty from the Reference Age Value of 27.66 ± 0.1 Ma (Wise and Watters, 2011). The 187Re decay constant used is 1.666e-11.a-1 (Smoliar et al, 1996)
References:
· R Markey, HJ Stein, JL Hannah, D Selby and RA Creaser “Standardizing Re-Os geochronology: A new molybdenite Reference Material (Henderson, USA) and the stoichiometry of Os salts”. Chemical Geology (2007), 244, 74-87.
· D Selby and RA Creaser “Macroscale NTIMS and microscale LA-MC-ICP-MS Re-Os isotopic analysis of molybdenite: Testing spatial restrictions for reliable Re-Os age determinations, and implications for the decoupling of Re and Os within molybdenite”. Geochimica et Cosmochimica Acta (2004), 68, 3897-3908.
· SA Wise and RL Watters “Reference Material 8599 Henderson Molybdenite”. National Institute of Standards and Technology Report of Investigation, 30 March 2011.
· Smoliar et al. (1996). “Re-Os ages of group IIA, IIIA, IVA, IVB iron meteorites” Science, 271,1099-1102